## Bid Worksheet
| BID # Flushing Ave | SQ FT | 1864 |  | SQ FT cost | 24.5361
Bid Worksheet: 06-19-009
| Description | Quantity | Trade Price | Unit | Labor | Unit | Total Material | Total Hours | Vendor
1 | Fixture A | 89 | 0 | E | 0.6 | E | 0 | 53.4
2 | Fixture EM | 8 | 0 | E | 0.35 | E | 0 | 2.8
3 | Fixture X | 3 | 0 | E | 0.55 | E | 0 | 1.65
4 | Transformer | 1 | 0 | E | 16.5 | E | 0 | 16.5
5 | Panel P1 | 1 | 0 | E | 4.5 | E | 0 | 4.5
6 | 1/2" CONDUIT - EMT | 2904 | 40.56 | C | 2.78 | C | 1177.8624 | 80.7312
7 | 3/4" CONDUIT - EMT | 40 | 71.87 | C | 3.2 | C | 28.748 | 1.28
8 | 1" CONDUIT - EMT | 70 | 123.6 | C | 4.05 | C | 86.52 | 2.835
9 | 1 1/2" CONDUIT - EMT | 10 | 245.95 | C | 5.92 | C | 24.595 | 0.592
10 | 2 1/2" CONDUIT - EMT | 10 | 438.45 | C | 8.3 | C | 43.845 | 0.83
11 | 1 1/2" ELBOW 90 DEG - EMT | 2 | 437.27 | C | 40 | C | 8.7454 | 0.8
12 | 2 1/2" ELBOW 90 DEG - EMT | 2 | 1471.83 | C | 50 | C | 29.4366 | 1
13 | 1/2" CONN SS STL - EMT | 359 | 18.83 | C | 8 | C | 67.5997 | 28.72
14 | 3/4" CONN SS STL - EMT | 8 | 31.06 | C | 10 | C | 2.4848 | 0.8
15 | 1" CONN SS STL - EMT | 2 | 59.47 | C | 12 | C | 1.1894 | 0.24
16 | 1 1/2" CONN SS STL - EMT | 2 | 197.96 | C | 17 | C | 3.9592 | 0.34
17 | 2 1/2" CONN SS STL - EMT | 2 | 969.35 | C | 24 | C | 19.387 | 0.48
18 | 1/2" COUPLING SS STL - EMT | 268 | 20.16 | C | 3.2 | C | 54.0288 | 8.576
19 | 3/4" COUPLING SS STL - EMT | 4 | 31.16 | C | 4 | C | 1.2464 | 0.16
20 | 1" COUPLING SS STL - EMT | 7 | 58.97 | C | 5 | C | 4.1279 | 0.35
21 | 1 1/2" COUPLING SS STL - EMT | 5 | 233.44 | C | 8 | C | 11.672 | 0.4
22 | 2 1/2" COUPLING SS STL - EMT | 5 | 804.35 | C | 11 | C | 40.2175 | 0.55
23 | 3/4" CONN THRD HUB INSUL W/ GRD LUG MALL STG2 | 12 | 1846.61 | C | 27.2 | C | 221.5932 | 3.264
24 | 3/4" LOCKNUT - STEEL | 14 | 21.6 | C | 2.3 | C | 3.024 | 0.322
25 | 1/2" 1-H STRAP - RMC - STEEL | 40 | 0.17 | E | 4.9 | C | 6.8 | 1.96
26 | 1/2" 1-H STRAP - EMT - STEEL | 473 | 12 | C | 4.9 | C | 56.76 | 23.177
27 | 3/4" 1-H STRAP - EMT - STEEL | 1 | 14.85 | C | 5.4 | C | 0.1485 | 0.054
28 | 1" 1-H STRAP - EMT - STEEL | 8 | 24.48 | C | 5.9 | C | 1.9584 | 0.472
29 | 1 1/2" 1-H STRAP - EMT - STEEL | 1 | 85.53 | C | 7.8 | C | 0.8553 | 0.078
30 | 1/2 OR 3/4" SNAP CLOSE CLIP - SIDE MNT TO MTL STUD SUPPORT | 8 | 1.44 | E | 7.2 | C | 11.52 | 0.576
31 | 1/2" FLEX - STEEL | 540 | 46.7 | C | 3 | C | 252.18 | 16.2
32 | 3/4" FLEX - STEEL | 3 | 63.53 | C | 3.9 | C | 1.9059 | 0.117
33 | 1/2" CONN FLEX DC SQUEEZE STRAIGHT | 182 | 47.45 | C | 10 | C | 86.359 | 18.2
34 | 3/4" CONN FLEX DC SQUEEZE STRAIGHT | 2 | 80.41 | C | 10 | C | 1.6082 | 0.2
35 | 1/2" FLEX - LIQUIDTIGHT METALLIC - GRAY | 24 | 54.59 | C | 3.9 | C | 13.1016 | 0.936
36 | 3/4" FLEX - LIQUIDTIGHT METALLIC - GRAY | 25 | 68.93 | C | 4.95 | C | 17.2325 | 1.2375
37 | 1" FLEX - LIQUIDTIGHT METALLIC - GRAY | 3 | 112.16 | C | 5.9 | C | 3.3648 | 0.177
38 | 1 1/2" FLEX - LIQUIDTIGHT METALLIC - GRAY | 3 | 262.32 | C | 10.8 | C | 7.8696 | 0.324
39 | 2 1/2" FLEX - LIQUIDTIGHT METALLIC - GRAY | 3 | 509.1 | C | 17.8 | C | 15.273 | 0.534
40 | 1/2" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 16 | 214.4 | C | 15 | C | 34.304 | 2.4
41 | 3/4" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 14 | 551.54 | C | 17 | C | 77.2156 | 2.38
42 | 1 1/2" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 2 | 1746.11 | C | 25 | C | 34.9222 | 0.5
43 | 2 1/2" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 2 | 9682.25 | C | 32 | C | 193.645 | 0.64
44 | 1" CONN STRAIGHT INSUL - LIQUIDTIGHT DIECAST | 2 | 610.83 | C | 17 | C | 12.2166 | 0.34
45 | #12 THHN BLACK | 7500 | 120.68 | M | 5.15 | M | 905.1 | 38.625
46 | #10 THHN BLACK | 5000 | 184.56 | M | 5.65 | M | 922.8 | 28.25
47 | # 2 THHN BLACK | 70 | 1067.43 | M | 12.4 | M | 74.7201 | 0.868
48 | #4/0 THHN BLACK | 92 | 3187.92 | M | 21.6 | M | 293.2886 | 1.9872
49 | # 8 THHN BLack | 383 | 281.31 | M | 7 | M | 107.7417 | 2.681
50 | # 4 THHN BLack | 23 | 676.12 | M | 10.2 | M | 15.5508 | 0.2346
51 | #12/3C CORD - SOW | 21 | 855.71 | M | 29.2 | M | 17.9699 | 0.6132
52 | #12/3C CORD CONN - SO - 3/4" HUB | 7 | 10.48 | E | 43 | C | 73.36 | 3.01
53 | COMPRESSION LUG - CU W/ 1- 13/32" HOLE - #4/0 CU WIRE | 6 | 3.68 | E | 30 | C | 22.08 | 1.8
54 | WIRE CONN YEL | 300 | 9.42 | C | 5 | C | 28.26 | 15
55 | WIRE CONN RED | 2660 | 11.52 | C | 2 | C | 306.432 | 53.2
56 | 4x 1 1/2" OCT BOX COMB KO | 8 | 1.75 | E | 22 | C | 14 | 1.76
57 | 4x 1 1/2" OCT BOX AC-90 CLAMP W/ BAR HNGR | 1 | 1.71 | E | 22 | C | 1.71 | 0.22
58 | 4x 1 1/2" SQ BOX COMB KO | 147 | 64.87 | C | 23 | C | 95.3589 | 33.81
59 | 4x 1 1/2" SQ BOX COMB KO W/ FLUSH MTL STUD BRKT | 4 | 114.28 | C | 23 | C | 4.5712 | 0.92
60 | 4x 2 1/8" SQ BOX COMB KO | 22 | 107.6 | C | 23 | C | 23.672 | 5.06
61 | 4" SQ 1G PLSTR RING 5/8" RISE | 36 | 1.21 | E | 2.5 | C | 43.56 | 0.9
62 | 4" SQ BLANK COVER | 137 | 27.19 | C | 2.5 | C | 37.2503 | 3.425
63 | 4 11/16x 1 1/2" SQ BOX COMB KO | 9 | 2.84 | E | 25 | C | 25.56 | 2.25
64 | 4 11/16" SQ BLANK COVER 1/2" KO | 2 | 2 | E | 2.5 | C | 4 | 0.05
65 | 4 11/16" SQ 1G PLSTR RING 5/8" RISE | 7 | 1.05 | C | 2.5 | C | 0.0735 | 0.175
66 | GROUND SCREW W/ INSUL #12 LEAD | 32 | 385.64 | M | 3 | C | 12.3405 | 0.96
67 | #10x 1 P/H SELF-TAP SCREW | 820 | 0 | C | 3 | C | 0 | 24.6
68 | #8x 1/2 WAFER HEAD SHEET MTL SCREW | 16 | 0 | C | 1.5 | C | 0 | 0.24
69 | #12 CEILING WIRE | 1780 | 8 | C | 0.75 | C | 142.4 | 13.35
70 | Misc Hardware | 100 | 1 | E | 0.01 | E | 100 | 1
71 | 1G TGL SWITCH PLATE - PLASTIC IVY | 1 | 0.4 | E | 3 | C | 0.4 | 0.03
72 | 1G SINGLE REC PLATE - PLASTIC IVY | 12 | 0.64 | E | 3 | C | 7.68 | 0.36
73 | 1G DUPLEX REC PLATE - PLASTIC IVY | 9 | 0.35 | E | 2.7 | C | 3.15 | 0.243
74 | Metal cover W 1/2" KO | 4 | 2.38 | E | 3 | C | 9.52 | 0.12
75 | 20A 120-277V S/P SW - TOGGLE IVY (SG) | 1 | 7.34 | E | 14 | C | 7.34 | 0.14
76 | 120/277V WALL OCC SWITCH IVY | 10 | 40 | E | 0.35 | E | 400 | 3.5
77 | 1G DECORATOR PLATE IVY | 10 | 120 | C | 2.5 | C | 12 | 0.25
78 | 20A 125V 3W SGL REC - BRN (SG) | 11 | 15 | E | 20 | C | 165 | 2.2
79 | 30A 250V 3W 1PH REC - BLK (SG) | 1 | 8.82 | E | 30 | C | 8.82 | 0.3
80 | 20A 125V DUP REC - IVY (SG) | 9 | 2.66 | E | 20 | C | 23.94 | 1.8
81 | 20A 125V 3W STRAIGHT PLUG - BLK (SG) | 6 | 15 | E | 0.22 | E | 90 | 1.32
82 | 30A 250V 3W 4-POS ANGLE PLUG - BLK (SG) | 1 | 20 | E | 0.25 | E | 20 | 0.25
83 | Retractabble Reel Plug | 3 | 700 | E | 2 | E | 2100 | 6
84 | 2P MOTOR SWITCH TGL OP - S/S PLT | 2 | 35 | E | 0.42 | E | 70 | 0.84
85 | BPB RECEIVING AND UNLOAD | 1 | 0 | E | 2 | E | 0 | 2
86 | BPB PUT INTO PLACE | 1 | 0 | E | 6 | E | 0 | 6
87 | 100A 3P BREAKER BOLT-ON | 1 | 350 | E | 0.4 | E | 350 | 0.4
88 | 30A 250V DSN SW FUSIBLE - NEMA 1 | 1 | 280 | E | 1.1 | E | 280 | 1.1
89 | 30A 250V DSN SW FUSIBLE - NEMA 3R | 5 | 500 | E | 1.2 | E | 2500 | 6
90 | 60A 250V DSN SW FUSIBLE - NEMA 3R | 1 | 580 | E | 1.65 | E | 580 | 1.65
91 | 30A FUSE 250V TIME DELAY CLASS RK1 | 18 | 3.14 | E | 0.04 | E | 56.52 | 0.72
92 | 60A FUSE 250V TIME DELAY CLASS RK1 | 3 | 5 | E | 0.05 | E | 15 | 0.15
93 | TRANSFORMER RECEIVE AND UNLOAD | 1 | 0 | E | 2 | E | 0 | 2
94 | TRANSFORMER PUT INTO PLACE | 1 | 0 | E | 6 | E | 0 | 6
95 | TRANSFORMER WALL MNTG BRACKET TO 45KVA | 1 | 600 | E | 6 | E | 600 | 6
96 | # 8 WIRE POWER TERM | 10 | 0.8 | E | 0.14 | E | 8 | 1.4
97 | # 4 WIRE POWER TERM | 2 | 1.25 | E | 0.21 | E | 2.5 | 0.42
98 | # 2 WIRE POWER TERM | 6 | 1 | E | 0.25 | E | 6 | 1.5
99 | #4/0 WIRE POWER TERM | 8 | 1 | E | 0.43 | E | 8 | 3.44
100 | COOLER LIGHTS | 1 | 0 | E | 3 | E | 0 | 3
101 | HOOD LIGHTS | 2 | 0 | E | 3 | E | 0 | 6
102 | DEMO | 1 | 0 | E | 50 | E | 0 | 50
103 |  |  |  | E |  | E | 0 | 0
| Quoted Materials | [7 empty] | Vendor
1 | Lighting Quote |  |  | E | 4 | E | 0 | 0
2 | Gear Quote | 1 | 4000 | E | 4 | E | 4000 | 4
3 |  |  |  | E |  | E | 0 | 0
[5 empty] | Bulk Material |  | 13255.192 | 635.7447
[5 empty] | Markup | 15% | 1988.2788 | 667.5319 | Job man-hours
[5 empty] | Quoted Material |  | 4000 | 2 | Number of men on job
[5 empty] | Markup | 10% | 400 | 1 | number of trucks
[5 empty] | SUB Total |  | 19643.4708 | 33.3766 | Truck days
[5 empty] | Tax | 9% | 1767.9124 | 40 | Round trip Miles
[5 empty] | Total Material |  | 21411.3832 | 2.5 | Estimated fuel Cost per gallon
[8 empty] | 12 | Estimated miles per gallon
| Direct Labor |  | Man Hours |  | Rate |  | Total | 278.1383 | Truck fuel Cost
| Composite Labor Rate |  | 635.7447 |  | 34 |  | 21615.3198 |  | Suppliers & Subcontractors | Quote
[8 empty] | LIGHTING | Elliott Supply
| Indirect Labor | % | % of MH |  | Rate |  | Total |  | Midstate Supply
| Project Manager | 5% | 31.7872 |  | 45 |  | 1430.4256 |  | Teche Electric
[8 empty] | GEAR | Elliott Supply
| Incidental Labor |  | Man Hours |  | Rate |  | Total |  | Midstate Supply
| Travel Time |  |  |  | 34 |  | 0 |  | Teche Electric
| Sub Contractor |  | Quote |  |  | Markup | Total | Fire Alarm
| Fire Alarm |  | 0 |  |  | 10% | 0
| Voice Data |  | 0 |  |  | 10% | 0
| Acceptance Testing |  | 0 |  |  | 10% | 0 | Voice Data
| Security Access |  | 0 |  |  | 10% | 0
0
Acceptance
| General Expenses | QTY |  |  | Cost |  | Total
| Permit | 1 |  |  | 500 |  | 500
| Temporary Power | 1 |  |  | 500 |  | 500 | Access
| Site Gas | 1 |  |  | 278.1383 |  | 278.1383
| Rental Equipment Transportation | 0 |  |  | 200 |  | 0
|  | 0 |  |  | 0 |  | 0
[5 empty] | Total |  | 1278.1383
| Equipment | QTY | Cost |  | Sub Total | % | Total
| Excavator By The Day |  | 250 |  | 0 | 10% | 0 | 0 | Fuel
| Packer By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Forklift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Man lift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
[7 empty] | 0 | 0 | Estimated Equipment Fuel cost
| Total Material | [5 empty] | 21411.3832
| Direct Labor | [5 empty] | 21615.3198
| Indirect Labor | [5 empty] | 1430.4256
| Incidental Labor | [5 empty] | 0
| Sub Contractor | [5 empty] | 0
| General Expenses | [5 empty] | 1278.1383
| Equipment | [5 empty] | 0
Estimate
[5 empty] | Total Job |  | 45735.2669
1 | Lighting and controllers to be supplied by others.
2 | Shunt Trip Breaker on hoods assumed to be provided with hoods
3 | The cost of the new breaker in the exsisting distribution panel is unknown so we have made a allowance of $350.00
4 | There are no special systems as part of this estimate.
5 | I did not have time to get a quote on the new panel and transformer so I used a allowance of $4,000.00 for that.

## UNIT CODES
UNIT CODES | VALUES
E | 1
C | 0.01
M | 0.001

## RENTALS
RENTALS
| Daily | Weekly | Monthly
Excavators | 230 | 690 | 1980
Trencher | 155 | 620 | 1740
Bobcat | 180 | 540 | 1620
Auger Attachment | 100 | 300 | 900
Packer | 75 | 300 | 900
Slab Saw | 75 | 300 | 900
Breaker | 120 | 480 | 1440
Core Drill | 80 | 320
Sizzor Narrow | 135 | 405 | 1125
Sizzor All Terain | 250 | 750 | 2000
40' Manlift | 250 | 750 | 2115
Reach Forklift | 360 | 1080 | 3150