## Bid Worksheet
| BID # 06-19-010 | SQ FT |  |  | SQ FT cost | #DIV/0!
Bid Worksheet: Main St Bld D
| Description | Quantity | Trade Price | Unit | Labor | Unit | Total Material | Total Hours | Vendor
1 | U1 | 67 | 0 | E | 0.65 | E | 0 | 43.55
2 | U2 | 52 | 0 | E | 0.65 | E | 0 | 33.8
3 | U3 | 21 | 0 | E | 0.65 | E | 0 | 13.65
4 | U4 | 102 | 0 | C | 22 | C | 0 | 22.44
5 | U5 | 79 | 0 | E | 0.75 | E | 0 | 59.25
6 | U6 | 63 | 0 | E | 0.65 | E | 0 | 40.95
7 | U7 | 86 | 0 | E | 0.65 | E | 0 | 55.9
8 | U8 | 78 | 0 | E | 0.65 | E | 0 | 50.7
9 | U9 | 45 | 0 | E | 0.65 | E | 0 | 29.25
10 | U11 | 4 | 0 | E | 0.65 | E | 0 | 2.6
11 | A1 | 95 | 0 | E | 0.65 | E | 0 | 61.75
12 | B1 | 44 | 0 | E | 0.75 | E | 0 | 33
13 | C1 | 16 | 0 | E | 0.75 | E | 0 | 12
14 | D1 | 46 | 0 | E | 0.45 | E | 0 | 20.7
15 | X1 | 23 | 90 | E | 0.35 | E | 2070 | 8.05
16 | Panel A | 27 | 0 | E | 3 | E | 0 | 81
17 | Panel B | 16 | 0 | E | 3 | E | 0 | 48
18 | Panel D | 2 | 0 | E | 3 | E | 0 | 6
19 | Panel HP1D | 1 | 0 | E | 5.5 | E | 0 | 5.5
20 | 600A MLO | 1 | 0 | E | 7 | E | 0 | 7
21 | MSB | 1 | 0 | E | 48 | E | 0 | 48
22 | 1/2" CONDUIT - EMT | 3175 | 40.56 | C | 2.78 | C | 1287.78 | 88.265
23 | 3/4" CONDUIT - EMT | 1680 | 71.87 | C | 3.2 | C | 1207.416 | 53.76
24 | 1" CONDUIT - EMT | 15 | 123.6 | C | 4.05 | C | 18.54 | 0.6075
25 | 1 1/4" CONDUIT - EMT | 40 | 200.62 | C | 4.7 | C | 80.248 | 1.88
26 | 1 1/2" CONDUIT - EMT | 100 | 245.95 | C | 5.92 | C | 245.95 | 5.92
27 | 2" CONDUIT - EMT | 1540 | 287.75 | C | 6.8 | C | 4431.35 | 104.72
28 | 3 1/2" CONDUIT - EMT | 60 | 732.34 | C | 11.4 | C | 439.404 | 6.84
29 | 1 1/4" ELBOW 90 DEG - EMT | 2 | 361.17 | C | 30 | C | 7.2234 | 0.6
30 | 1 1/2" ELBOW 90 DEG - EMT | 2 | 437.27 | C | 40 | C | 8.7454 | 0.8
31 | 2" ELBOW 90 DEG - EMT | 30 | 648.1 | C | 45 | C | 194.43 | 13.5
32 | 3 1/2" X 24" RAD ELBOW 90 DEG - EMT | 10 | 90 | E | 70 | C | 900 | 7
33 | 1/2" CONN SS STL - EMT | 395 | 18.83 | C | 8 | C | 74.3785 | 31.6
34 | 3/4" CONN SS STL - EMT | 214 | 31.06 | C | 10 | C | 66.4684 | 21.4
35 | 1 1/4" CONN SS STL - EMT | 2 | 137.23 | C | 14 | C | 2.7446 | 0.28
36 | 1 1/2" CONN SS STL - EMT | 6 | 197.96 | C | 17 | C | 11.8776 | 1.02
37 | 2" CONN SS STL - EMT | 60 | 283.79 | C | 20 | C | 170.274 | 12
38 | 1/2" COUPLING SS STL - EMT | 310 | 20.16 | C | 3.2 | C | 62.496 | 9.92
39 | 3/4" COUPLING SS STL - EMT | 167 | 31.16 | C | 4 | C | 52.0372 | 6.68
40 | 1 1/4" COUPLING SS STL - EMT | 8 | 160.85 | C | 6.5 | C | 12.868 | 0.52
41 | 1 1/2" COUPLING SS STL - EMT | 14 | 233.44 | C | 8 | C | 32.6816 | 1.12
42 | 2" COUPLING SS STL - EMT | 214 | 312.97 | C | 9.5 | C | 669.7558 | 20.33
43 | 1" CONN COMP STL - EMT | 3 | 105.81 | C | 15.6 | C | 3.1743 | 0.468
44 | 3 1/2" CONN COMP STL - EMT | 10 | 23.01 | E | 41.6 | C | 230.1 | 4.16
45 | 3 1/2" COUPLING COMP STL - EMT | 20 | 1441.37 | C | 36 | C | 288.274 | 7.2
46 | 1 1/2" TYPE LB STD CONDUIT BODY - EMT - ALUM | 2 | 2192.35 | C | 1 | E | 43.847 | 2
47 | 2" TYPE LB STD CONDUIT BODY - EMT - ALUM | 1 | 2527.83 | C | 1.3 | E | 25.2783 | 1.3
48 | 3/4" CONDUIT - RMC - GALV | 300 | 193.42 | C | 5 | C | 580.26 | 15
49 | 1" CONDUIT - RMC - GALV | 18 | 308.22 | C | 6.2 | C | 55.4796 | 1.116
50 | 1 1/4" CONDUIT - RMC - GALV | 5 | 452.87 | C | 7.3 | C | 22.6435 | 0.365
51 | 4" CONDUIT - RMC - GALV | 45 | 1852.27 | C | 24.5 | C | 833.5215 | 11.025
52 | 1" COUPLING - RMC - GALV | 12 | 192.78 | C | 0 | C | 23.1336 | 0
53 | 4" COUPLING - RMC - GALV | 54 | 2202.03 | C | 0 | C | 1189.0962 | 0
54 | 1" ELBOW 90 DEG - RMC - GALV | 6 | 824.82 | C | 32 | C | 49.4892 | 1.92
55 | 4 x 36" RAD ELBOW 90 DEG - RMC - GALV | 18 | 199 | E | 194 | C | 3582 | 34.92
56 | 3/4x 6" NIPPLE - RMC - GALV | 48 | 204.22 | C | 19.5 | C | 98.0256 | 9.36
57 | 3/4x 12" NIPPLE - RMC - GALV | 1 | 454.76 | C | 19.5 | C | 4.5476 | 0.195
58 | 1 1/4x 6" NIPPLE - RMC - GALV | 1 | 387.72 | C | 26 | C | 3.8772 | 0.26
59 | 3/4" CONN THRD HUB INSUL W/ GRD LUG MALL STG2 | 49 | 1846.61 | C | 27.2 | C | 904.8389 | 13.328
60 | 1 1/4" CONN THRD HUB INSUL W/ GRD LUG - MALL STG4 | 2 | 2815.65 | C | 37.6 | C | 56.313 | 0.752
61 | 3/4" TYPE LB FORM 7 CONDUIT BODY W/ CVR & GSKT - RMC | 101 | 19.01 | E | 0.33 | E | 1920.01 | 33.33
62 | 1 1/4" TYPE LB FORM 7 CONDUIT BODY W/ CVR & GSKT - RMC | 2 | 31.35 | E | 0.82 | E | 62.7 | 1.64
63 | 3/4" TYPE T FORM 7 CONDUIT BODY W/ CVR & GSKT - RMC | 3 | 19.02 | E | 0.68 | E | 57.06 | 2.04
64 | 3/4" LOCKNUT - STEEL | 4 | 21.6 | C | 2.3 | C | 0.864 | 0.092
65 | 2" BUSHING - PLASTIC | 58 | 50.7 | C | 5.8 | C | 29.406 | 3.364
66 | 3 1/2" BUSHING - PLASTIC | 10 | 147.25 | C | 9.4 | C | 14.725 | 0.94
67 | 1" BUSHING GRDG INSUL 150 DEG - MALL | 3 | 573 | C | 3.6 | C | 17.19 | 0.108
68 | 4" BUSHING GRDG INSUL 150 DEG - STEEL | 18 | 2311.25 | C | 15.2 | C | 416.025 | 2.736
69 | 1/2" 1-H STRAP - RMC - STEEL | 54 | 0.17 | E | 4.9 | C | 9.18 | 2.646
70 | 3/4" 1-H STRAP - RMC - STEEL | 336 | 0.26 | E | 5.4 | C | 87.36 | 18.144
71 | 1 1/4" 1-H STRAP - RMC - STEEL | 7 | 0.84 | E | 7 | C | 5.88 | 0.49
72 | 1/2" 1-H STRAP - EMT - STEEL | 598 | 12 | C | 4.9 | C | 71.76 | 29.302
73 | 3/4" 1-H STRAP - EMT - STEEL | 158 | 14.85 | C | 5.4 | C | 23.463 | 8.532
74 | 1 1/4" 1-H STRAP - EMT - STEEL | 0 | 59.49 | C | 0 | C | 0 | 0
75 | 1 1/2" 1-H STRAP - EMT - STEEL | 10 | 85.53 | C | 7.8 | C | 8.553 | 0.78
76 | 2" 1-H STRAP - EMT - STEEL | 157 | 125.07 | C | 9.2 | C | 196.3599 | 14.444
77 | 3/4" 2-PC CONDUIT STRUT CLAMP | 12 | 1.69 | E | 5.1 | C | 20.28 | 0.612
78 | 1" 2-PC CONDUIT STRUT CLAMP | 6 | 1.78 | E | 5.6 | C | 10.68 | 0.336
79 | 1/2" SPRING STL CONDUIT CLAMP W/ BOLT | 12 | 0.48 | E | 5.5 | C | 5.76 | 0.66
80 | 1/2" CONDUIT SUPPORT FOR ROD OR FLNG | 361 | 0.43 | E | 4.6 | C | 155.23 | 16.606
81 | 1/2 OR 3/4" SNAP CLOSE CLIP - SIDE MNT TO MTL STUD SUPPORT | 124 | 1.44 | E | 7.2 | C | 178.56 | 8.928
82 | 1/2" FLEX - STEEL | 12 | 46.7 | C | 3 | C | 5.604 | 0.36
83 | 3/4" FLEX - STEEL | 159 | 63.53 | C | 3.9 | C | 101.0127 | 6.201
84 | 1/2" CONN FLEX DC SQUEEZE STRAIGHT | 8 | 47.45 | C | 10 | C | 3.796 | 0.8
85 | 3/4" CONN FLEX DC SQUEEZE STRAIGHT | 69 | 80.41 | C | 10 | C | 55.4829 | 6.9
86 | 1" FLEX NM RACEWAY - ENT - BLU | 5500 | 71 | C | 2 | C | 3905 | 110
87 | 1/2" FLEX - LIQUIDTIGHT METALLIC - GRAY | 12 | 54.59 | C | 3.9 | C | 6.5508 | 0.468
88 | 3/4" FLEX - LIQUIDTIGHT METALLIC - GRAY | 298 | 68.93 | C | 4.95 | C | 205.4114 | 14.751
89 | 1 1/4" FLEX - LIQUIDTIGHT METALLIC - GRAY | 6 | 145.75 | C | 8.9 | C | 8.745 | 0.534
90 | 2" FLEX - LIQUIDTIGHT METALLIC - GRAY | 4 | 274.32 | C | 15.8 | C | 10.9728 | 0.632
91 | 1/2" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 8 | 214.4 | C | 15 | C | 17.152 | 1.2
92 | 3/4" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 146 | 551.54 | C | 17 | C | 805.2484 | 24.82
93 | 1 1/4" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 3 | 969.19 | C | 20 | C | 29.0757 | 0.6
94 | 2" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 2 | 2265.86 | C | 30 | C | 45.3172 | 0.6
95 | 1 1/4" CONN 90 DEG - LIQUIDTIGHT DIECAST | 1 | 1729.52 | C | 20 | C | 17.2952 | 0.2
96 | 3/4" CONN STRAIGHT INSUL - LIQUIDTIGHT DIECAST | 52 | 317.52 | C | 17 | C | 165.1104 | 8.84
97 | 1" CONDUIT - PVC40 | 60 | 34.64 | C | 4.4 | C | 20.784 | 2.64
98 | 4" CONDUIT - PVC40 | 250 | 193.37 | C | 14.5 | C | 483.425 | 36.25
99 | 1" ELBOW 90 DEG - PVC40 | 6 | 97.97 | C | 22 | C | 5.8782 | 1.32
100 | 4 x 36" RAD ELBOW 90 DEG - PVC80 | 8 | 118 | E | 120 | C | 944 | 9.6
101 | 4" COUPLING - PVC | 24 | 312.1 | C | 0 | C | 74.904 | 0
102 | 1" ADAPTER FEM - PVC | 9 | 51.15 | C | 12 | C | 4.6035 | 1.08
103 | 4" ADAPTER FEM - PVC | 18 | 368.03 | C | 40 | C | 66.2454 | 7.2
104 | 1" END CAP - PVC | 3 | 0.73 | E | 4 | C | 2.19 | 0.12
105 | #12 THHN BLACK | 11500 | 120.68 | M | 5.15 | M | 1387.82 | 59.225
106 | #10 THHN BLACK | 15500 | 184.56 | M | 5.65 | M | 2860.68 | 87.575
107 | # 4 THHN BLACK | 160 | 676.12 | M | 10.2 | M | 108.1792 | 1.632
108 | #1/0 THHN BLACK | 280 | 1642.78 | M | 14.2 | M | 459.9784 | 3.976
109 | #350 THHN BLACK | 368 | 5299.88 | M | 31.5 | M | 1950.3558 | 11.592
110 | # 6 THHN BLACK | 310 | 432.81 | M | 8.9 | M | 134.1711 | 2.759
111 | # 2 THHN BLACK | 35 | 1067.43 | M | 12.4 | M | 37.3601 | 0.434
112 | # 1 THHN BLack | 370 | 1341.79 | M | 13.5 | M | 496.4623 | 4.995
113 | #250 MCM THHN BLACK | 240 | 3774.31 | M | 24.2 | M | 905.8344 | 5.808
114 | #500 MCM THHN BLACK | 132 | 7617.97 | M | 38.8 | M | 1005.572 | 5.1216
115 | #600 MCM THHN BLACK | 1050 | 9674.84 | M | 45 | M | 10158.582 | 47.25
116 | #12/2C SOLID CABLE MC - STL ARMOR | 1675 | 440.37 | M | 17.4 | M | 737.6198 | 29.145
117 | #10/2C SOLID CABLE MC - STL ARMOR | 583 | 939.76 | M | 21 | M | 547.8801 | 12.243
118 | #12/3C SOLID CABLE MC - STL ARMOR | 3415 | 746.86 | M | 19 | M | 2550.5269 | 64.885
119 | SER 3C # 2 - CU | 5400 | 1.5 | E | 70 | M | 8100 | 378
120 | #12/2C CORD - SOW | 360 | 769.34 | M | 26.4 | M | 276.9624 | 9.504
121 | #14/2C NM-B | 4704 | 184.39 | M | 13.5 | M | 867.3706 | 63.504
122 | #12/2C NM-B | 42000 | 273.13 | M | 14 | M | 11471.46 | 588
123 | #14/3C NM-B | 2592 | 262.86 | M | 16.5 | M | 681.3331 | 42.768
124 | #12/3C NM-B | 1260 | 401.15 | M | 18.6 | M | 505.449 | 23.436
125 | #10/3C NM-B | 1827 | 635.27 | M | 22.8 | M | 1160.6383 | 41.6556
126 | CAT 6 CABLE | 1050 | 50 | M | 7.2 | M | 52.5 | 7.56
127 | 3/8" CONN SADDLEGRIP DC FOR FLEX / AC-90 / MC | 624 | 48.23 | C | 6 | C | 300.9552 | 37.44
128 | 1/2" CONN SADDLEGRIP DC FOR FLEX / AC-90 / MC | 164 | 1.6 | E | 9 | C | 262.4 | 14.76
129 | 1/2" CONN 2-SCREW STRAP TYPE DC FOR NMC | 3372 | 0.5 | E | 9 | C | 1686 | 303.48
130 | 1 1/2" CONN 2-SCREW STRAP TYPE DC FOR ROUND NMC | 90 | 186 | C | 23 | C | 167.4 | 20.7
131 | #12/2C CORD CONN - SO - 3/4" HUB | 120 | 4.1 | E | 43 | C | 492 | 51.6
132 | 1-H STRAP #14/2 & #12/2 | 42 | 19.12 | C | 4.6 | C | 8.0304 | 1.932
133 | 1-H STRAP #14/3 & #12/3 | 361 | 20.33 | C | 4.6 | C | 73.3913 | 16.606
134 | 1-H STRAP #12/4 & #10/2 & #10/3 | 89 | 10.8 | C | 4.6 | C | 9.612 | 4.094
135 | 1-H CABLE STRAP | 88 | 0.1 | E | 2 | C | 8.8 | 1.76
136 | 1" ROMEX STAPLE | 20000 | 1 | C | 1 | C | 200 | 200
137 | SER 2/3 STAPLE | 572 | 7 | C | 0.05 | E | 40.04 | 28.6
138 | COMPRESSION LUG - CU W/ 1- 9/32" HOLE - # 6 CU WIRE | 16 | 3 | E | 13 | C | 48 | 2.08
139 | WIRE CONN YEL | 5529 | 9.42 | C | 2 | C | 520.8318 | 110.58
140 | WIRE CONN RED | 13592 | 11.52 | C | 2 | C | 1565.7984 | 271.84
141 | 1/8" POLYTWINE | 426 | 30 | M | 3 | M | 12.78 | 1.278
142 | SILICONE SEALANT (TUBE) | 49 | 6.58 | E | 1.5 | E | 322.42 | 73.5
143 | 4x 1 1/2" OCT BOX 1/2" KO | 3 | 88.74 | C | 22 | C | 2.6622 | 0.66
144 | 4x 1 1/2" OCT BOX COMB KO | 23 | 1.75 | E | 22 | C | 40.25 | 5.06
145 | 4x 1 1/2" OCT BOX 1/2" KO W/ RCSD SIDE BRKT | 79 | 1.31 | E | 22 | C | 103.49 | 17.38
146 | 4x 1 1/2" OCT BOX 1/2" KO W/ BAR HNGR | 550 | 14.44 | E | 22 | C | 7942 | 121
147 | 4x 1 1/2" OCT BOX AC-90 CLAMP W/ BAR HNGR | 38 | 1.71 | E | 22 | C | 64.98 | 8.36
148 | 4x 1 1/2" SQ BOX COMB KO | 217 | 64.87 | C | 23 | C | 140.7679 | 49.91
149 | 4x 1 1/2" SQ BOX COMB KO W/ FLUSH SIDE MNT BRKT | 61 | 7.15 | E | 23 | C | 436.15 | 14.03
150 | 4x 1 1/2" SQ BOX COMB KO W/ FLUSH MTL STUD BRKT | 110 | 114.28 | C | 23 | C | 125.708 | 25.3
151 | 4x 2 1/8" SQ BOX COMB KO | 183 | 107.6 | C | 23 | C | 196.908 | 42.09
152 | 4" SQ 1G PLSTR RING 5/8" RISE | 129 | 1.21 | E | 2.5 | C | 156.09 | 3.225
153 | 4x 2 1/8" SQ BOX Large Capacity W up to 2" KO | 2 | 9.21 | E | 23 | C | 18.42 | 0.46
154 | 4" SQ BLANK COVER | 3546 | 27.19 | C | 2.5 | C | 964.1574 | 88.65
155 | 4 11/16x 1 1/2" SQ BOX COMB KO | 2 | 2.84 | E | 25 | C | 5.68 | 0.5
156 | 4 11/16x 2 1/8" SQ BOX COMB KO | 26 | 2.43 | E | 25 | C | 63.18 | 6.5
157 | 4 11/16x 2 1/8" SQ BOX 1" KO | 18 | 245.42 | C | 25 | C | 44.1756 | 4.5
158 | 4 11/16" SQ BLANK COVER | 22 | 62.1 | C | 2.5 | C | 13.662 | 0.55
159 | 4 11/16" SQ 1G PLSTR RING 5/8" RISE | 2 | 1.05 | C | 2.5 | C | 0.021 | 0.05
160 | 4 11/16" SQ 2G PLSTR RING 5/8" RISE | 9 | 3 | E | 2.5 | C | 27 | 0.225
161 | 4x 1 1/2" OCT BOX NMC CLAMP W/ RCSD FLAT BRKT | 67 | 3.1 | C | 22 | C | 2.077 | 14.74
162 | 4x 1 1/2" OCT BOX NMC CLAMP W/ BAR HNGR | 45 | 2.84 | E | 22 | C | 127.8 | 9.9
163 | 1G NM DEV BOX 3 3/8" DEEP W/ NAILS - 22.5ci | 65 | 0.75 | C | 22 | C | 0.4875 | 14.3
164 | 1G NM DEV BOX 3 3/8" DEEP W/ DEVICE QUICK CONNECT | 1388 | 0.5 | E | 22 | C | 694 | 305.36
165 | 1G NM BOX 2 3/4" DEEP SIDE BRKT W/ DEVICE QUICK CONNECT | 167 | 0.5 | E | 22 | C | 83.5 | 36.74
166 | 2G NM BOX 2 7/8" DEEP SIDE BRKT W/ DEVICE QUICK CONNECT | 141 | 1 | E | 22 | C | 141 | 31.02
167 | 3G NM BOX 3" DEEP SIDE BRKT W/ DEVICE QUICK CONNECT | 104 | 2.37 | E | 26 | C | 246.48 | 27.04
168 | 4x 1 1/2" SQ NM BOX SIDE BRKT | 3111 | 2.53 | E | 22 | C | 7870.83 | 684.42
169 | 4x 2 1/8" RND NM BOX + GRD | 42 | 2 | E | 22 | C | 84 | 9.24
170 | 1G 2"D DC ALUM BOX W/ LUGS & 3x 3/4" HUBS GRY | 2 | 473.53 | C | 0.35 | E | 9.4706 | 0.7
171 | 2G ALUM DB Box WP Switch COVER GRY | 2 | 15 | E | 0.07 | E | 30 | 0.14
172 | GROUND SCREW W/ INSUL #12 LEAD | 76 | 385.64 | M | 3 | C | 29.3086 | 2.28
173 | 21" Vented Structured Media Panel | 69 | 30 | E | 1 | E | 2070 | 69
174 | 3/4"x 10' GALV GRD ROD | 8 | 40 | E | 1 | E | 320 | 8
175 | BURNDY GAR114C 1/2" Rod TO #4 STR | 8 | 35 | E | 0.35 | E | 280 | 2.8
176 | Grn Buss Gr 1/4" X 2" X 15" Erico EGBA14215TES | 12 | 120 | E | 1 | E | 1440 | 12
177 | Polymar Hand Hole W Cover | 2 | 210 | E | 2.5 | E | 420 | 5
178 | 1 5/8x 1 5/8x 12G STRUT SLOTTED HOLE GALV | 506 | 3.18 | E | 10 | C | 1609.08 | 50.6
179 | #8x 3/4 F/H SELF-TAP SCREW | 2 | 0 | C | 2.6 | C | 0 | 0.052
180 | #10x 1 P/H SELF-TAP SCREW | 2090 | 0 | C | 3 | C | 0 | 62.7
181 | #10x 3/4 WOOD SCREW | 84 | 0 | C | 2.8 | C | 0 | 2.352
182 | #10x 1 WOOD SCREW | 132 | 0 | C | 3 | C | 0 | 3.96
183 | #8x 1/2 WAFER HEAD SHEET MTL SCREW | 248 | 0 | C | 1.5 | C | 0 | 3.72
184 | BEAM CLAMP FOR 1/2-13 ROD OR STRUT END TO 1" FLNG | 12 | 5 | E | 10 | C | 60 | 1.2
185 | Misc Hardware | 658 | 1 | E | 0.01 | E | 658 | 6.58
186 | 4' X8' X 3/4" Plywood Fire Rated | 8 | 48 | E | 0.33 | E | 384 | 2.64
187 | 1G TGL SWITCH PLATE - PLASTIC IVY | 270 | 0.4 | E | 3 | C | 108 | 8.1
188 | 2G TGL SWITCH PLATE - PLASTIC IVY | 141 | 0.77 | E | 4.5 | C | 108.57 | 6.345
189 | 3G TGL SWITCH PLATE - PLASTIC IVY | 104 | 2.31 | E | 6 | C | 240.24 | 6.24
190 | 1G SINGLE REC PLATE - PLASTIC IVY | 1 | 0.64 | E | 3 | C | 0.64 | 0.03
191 | 1G DUPLEX REC PLATE - PLASTIC IVY | 1308 | 0.35 | E | 2.7 | C | 457.8 | 35.316
192 | 2G DUPLEX REC PLATE - PLASTIC IVY | 9 | 0.67 | E | 3.9 | C | 6.03 | 0.351
193 | 1G DECORATOR PLATE - PLASTIC IVY | 4 | 0.7 | E | 3 | C | 2.8 | 0.12
194 | 1G UNIV WP-IN-USE PLATE - DEVICE MNT VERT/HORZ - CLEAR | 35 | 49.51 | E | 6 | C | 1732.85 | 2.1
195 | Meatal cover W 1/2" KO | 67 | 2.38 | E | 3 | C | 159.46 | 2.01
196 | 20A S/P SW - TOGGLE | 593 | 3 | E | 14 | C | 1779 | 83.02
197 | 20A 120-277V 3/W SW - TOGGLE IVY (SG) | 328 | 5 | E | 20 | C | 1640 | 65.6
198 | 20A 120-277V 4/W SW - TOGGLE IVY (SG) | 11 | 5.26 | E | 22 | C | 57.86 | 2.42
199 | 120/277V WALL OCC SWITCH IVY | 4 | 40 | E | 0.35 | E | 160 | 1.4
200 | 1G DECORATOR PLATE IVY | 4 | 120 | C | 2.5 | C | 4.8 | 0.1
201 | CiEILING 24V WPIR OCC SENSOR | 3 | 75 | E | 0.6 | E | 225 | 1.8
202 | 20A 125V 3W SGL REC - BRN (SG) | 1 | 2.66 | E | 20 | C | 2.66 | 0.2
203 | 30A 250V 4W 1PH REC (GP-DRYER) | 22 | 6.5 | E | 35 | C | 143 | 7.7
204 | 20A 125V DUP REC - IVY (SG) | 69 | 2.66 | E | 20 | C | 183.54 | 13.8
205 | 20A 125V DUP REC - IVY (CS) | 646 | 2.66 | E | 15 | C | 1718.36 | 96.9
206 | 20A 125V DUP REC - GFCI IVY (SG) | 542 | 15.98 | C | 25 | C | 86.6116 | 135.5
207 | Combo TV & Recpticle | 108 | 35 | E | 0.5 | E | 3780 | 54
208 | LABOR F/A DETECTOR - Combo Carbon Monoxide & Smoke Detector W Intregal Sounder | 45 | 0 | E | 0.5 | E | 0 | 22.5
209 | LABOR F/A SMOKE ALARM - 120V | 42 | 0 | E | 0.4 | E | 0 | 16.8
210 | F/A CONTROL PANEL - 4 ZONE | 2 | 0 | E | 5 | E | 0 | 10
211 | 2P MOTOR SWITCH TGL OP 2x 3/4" HUB - NEMA 4 | 2 | 40 | E | 1.3 | E | 80 | 2.6
212 | 24HR SPST 120V TIME SW | 2 | 170 | E | 1.5 | E | 340 | 3
213 | SWBD RECEIVING AND UNLOAD | 1 | 0 | E | 2 | E | 0 | 2
214 | SWBD PUT INTO PLACE | 1 | 0 | E | 6 | E | 0 | 6
215 | BPB RECEIVING AND UNLOAD | 46 | 0 | E | 4 | E | 0 | 184
216 | BPB PUT INTO PLACE | 46 | 0 | E | 8 | E | 0 | 368
217 | 30A 250V DSN SW FUSIBLE - NEMA 1 | 1 | 11.5 | E | 1.1 | E | 11.5 | 1.1
218 | 30A 250V DSN SW FUSIBLE - NEMA 3R | 48 | 11.5 | E | 1.2 | E | 552 | 57.6
219 | 100A 250V DSN SW FUSIBLE - NEMA 3R | 1 | 217.69 | E | 2.1 | E | 217.69 | 2.1
220 | 200A 250V DSN SW FUSIBLE - NEMA 1 | 1 | 419.53 | E | 3.1 | E | 419.53 | 3.1
221 | 30A FUSE 250V TIME DELAY CLASS RK1 | 98 | 3.14 | E | 0.04 | E | 307.72 | 3.92
222 | 100A FUSE 250V TIME DELAY CLASS RK1 | 2 | 50 | E | 0.05 | E | 100 | 0.1
223 | 200A FUSE 250V TIME DELAY CLASS RK1 | 2 | 110 | E | 0.1 | E | 220 | 0.2
224 | METER SECTION RECEIVING AND UNLOAD | 1 | 0 | E | 4 | E | 0 | 4
225 | METER SECTION PUT INTO PLACE | 1 | 0 | E | 8 | E | 0 | 8
226 | #12 WIRE POWER TERM | 150 | 0.8 | E | 0.09 | E | 120 | 13.5
227 | # 6 WIRE POWER TERM | 2 | 1.25 | E | 0.17 | E | 2.5 | 0.34
228 | # 4 WIRE POWER TERM | 6 | 1.25 | E | 0.21 | E | 7.5 | 1.26
229 | # 2 WIRE POWER TERM | 2 | 1 | E | 0.25 | E | 2 | 0.5
230 | # 1 WIRE POWER TERM | 12 | 1 | E | 0.29 | E | 12 | 3.48
231 | #1/0 WIRE POWER TERM | 6 | 1 | E | 0.32 | E | 6 | 1.92
232 | #250 WIRE POWER TERM | 18 | 1 | E | 0.47 | E | 18 | 8.46
233 | #350 WIRE POWER TERM | 32 | 1 | E | 0.54 | E | 32 | 17.28
234 | #500 WIRE POWER TERM | 8 | 1 | E | 0.63 | E | 8 | 5.04
235 | #600 WIRE POWER TERM | 54 | 1 | E | 0.7 | E | 54 | 37.8
236 | WIRE TERM UP To #10 | 288 | 1 | E | 0.11 | E | 288 | 31.68
237 | WIRE TERM #8 TO #1 | 6 | 1 | E | 0.29 | E | 6 | 1.74
238 | Cat 5 Terms | 126 | 0.5 | E | 0.25 | E | 63 | 31.5
239 | INVERTER | 1 | 0 | E | 0.5 | E | 0 | 0.5
240 | TRENCH (12"x 3' DEEP) | 60 | 0 | E | 6 | C | 0 | 3.6
241 | TRENCH (36"x 3' DEEP) | 50 | 0 | E | 6 | C | 0 | 3
242 | BACKFILL (CUBIC YARD) | 110 | 0 | E | 5 | C | 0 | 5.5
243 | 1" DIAM CORE 4" THICK WALL | 48 | 0 | E | 1.5 | E | 0 | 72
244 | 2" DIAM CORE 6" THICK WALL | 1 | 0 | E | 1.5 | E | 0 | 1.5
245 | Fire Alarm Instalation | 1 | 0 | E | 250 | E | 0 | 250
246 |  |  |  | E |  | E | 0 | 0
247 |  |  |  | E |  | E | 0 | 0
248 |  |  |  | E |  | E | 0 | 0
| Quoted Materials | [7 empty] | Vendor
1 | Lighting Quote (by Others) |  |  | E | 4 | E | 0 | 0
2 | Gear Quote | 1 | 54100 | E | 4 | E | 54100 | 4
3 |  |  |  | E |  | E | 0 | 0
[5 empty] | Bulk Material |  | 124860.6105 | 7654.9917
[5 empty] | Markup | 15% | 18729.0916 | 8037.7413 | Job man-hours
[5 empty] | Quoted Material |  | 54100 | 2 | Number of men on job
[5 empty] | Markup | 10% | 5410 | 1 | number of trucks
[5 empty] | SUB Total |  | 203099.702 | 401.8871 | Truck days
[5 empty] | Tax | 9% | 18278.9732 | 0 | Round trip Miles
[5 empty] | Total Material |  | 221378.6752 | 2.5 | Estimated fuel Cost per gallon
[8 empty] | 12 | Estimated miles per gallon
| Direct Labor |  | Man Hours |  | Rate |  | Total | 0 | Truck fuel Cost
| Composite Labor Rate |  | 7654.9917 |  | 34 |  | 260269.7178 |  | Suppliers & Subcontractors | Quote
[8 empty] | LIGHTING | Elliott Supply
| Indirect Labor | % | % of MH |  | Rate |  | Total |  | Midstate Supply
| Project Manager | 5% | 382.7496 |  | 45 |  | 17223.7313 |  | Teche Electric
[8 empty] | GEAR | Elliott Supply
| Incidental Labor |  | Man Hours |  | Rate |  | Total |  | Midstate Supply
| Travel Time |  |  |  | 34 |  | 0 |  | Teche Electric
| Sub Contractor |  | Quote |  |  | Markup | Total | Fire Alarm
| Fire Alarm |  | 3400 |  |  | 10% | 3740
| Voice Data |  | 0 |  |  | 10% | 0
|  |  | 0 |  |  | 10% | 0 | Voice Data
|  |  | 0 |  |  | 10% | 0
3740
Acceptance
| General Expenses | QTY |  |  | Cost |  | Total
| Permit | 1 |  |  | 1500 |  | 1500
| Temporary Power | 1 |  |  | 500 |  | 500 | Access
| Site Gas | 1 |  |  | 0 |  | 0
| Rental Equipment Transportation | 0 |  |  | 200 |  | 0
|  | 0 |  |  | 0 |  | 0
[5 empty] | Total |  | 2000
| Equipment | QTY | Cost |  | Sub Total | % | Total
| Excavator By The Week | 2 | 690 |  | 1380 | 10% | 1518 | 0 | Fuel
| Packer By The Week | 2 | 300 |  | 600 | 10% | 660 | 0 | Fuel
| Forklift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Man lift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
[7 empty] | 2178 | 0 | Estimated Equipment Fuel cost
| Total Material | [5 empty] | 221378.6752
| Direct Labor | [5 empty] | 260269.7178
| Indirect Labor | [5 empty] | 17223.7313
| Incidental Labor | [5 empty] | 0
| Sub Contractor | [5 empty] | 3740
| General Expenses | [5 empty] | 2000
| Equipment | [5 empty] | 2178
Estimate
[5 empty] | Total Job |  | 506790.1243
1 | Light Fixtures By Others. We Supply Emergency Fixtures. We supply Lighting Controls Limited to standard switches, dimmers, and Occ sensors. No Electronic control systems.
2 | Fire Alarm was quoted parts only Contractor must be lisceed to to do the instaltion labor that is included. 250 Hrs was allowed for this work. Voice data equipment and instalation is not inclded in this estimate
3 | Alternate to Deduct work at trash shute. Deduct $200.00
4 | Unit Price for Air Switch for GD. ADD $100.00 Per Unit

## UNIT CODES
UNIT CODES | VALUES
E | 1
C | 0.01
M | 0.001

## RENTALS
RENTALS
| Daily | Weekly | Monthly
Excavators | 230 | 690 | 1980
Trencher | 155 | 620 | 1740
Bobcat | 180 | 540 | 1620
Auger Attachment | 100 | 300 | 900
Packer | 75 | 300 | 900
Slab Saw | 75 | 300 | 900
Breaker | 120 | 480 | 1440
Core Drill | 80 | 320
Sizzor Narrow | 135 | 405 | 1125
Sizzor All Terain | 250 | 750 | 2000
40' Manlift | 250 | 750 | 2115
Reach Forklift | 360 | 1080 | 3150