## Bid Worksheet
| BID # 06-19-005 | SQ FT | 1440 |  | SQ FT cost | 24.0037
Bid Worksheet: NYC College of Tech
| Description | Quantity | Trade Price | Unit | Labor | Unit | Total Material | Total Hours | Vendor
1 | Fixture A | 272 | 0 | E | 3 | C | 0 | 8.16
2 | FIXTURE B | 6 | 0 | E | 1 | E | 0 | 6
3 | FIXTURE B1 | 6 | 0 | E | 1 | E | 0 | 6
4 | FIXTURE C | 14 | 0 | E | 0.75 | E | 0 | 10.5
5 | Fixture AE | 24 | 0 | E | 3 | C | 0 | 0.72
6 | PANEL PLN 820 | 1 | 0 | E | 3 | E | 0 | 3
7 | 1/2" CONDUIT - EMT | 1055 | 40.56 | C | 2.78 | C | 427.908 | 29.329
8 | 3/4" CONDUIT - EMT | 680 | 71.87 | C | 3.2 | C | 488.716 | 21.76
9 | 1" CONDUIT - EMT | 100 | 123.6 | C | 4.05 | C | 123.6 | 4.05
10 | 1 1/4" CONDUIT - EMT | 380 | 200.62 | C | 4.7 | C | 762.356 | 17.86
11 | 2" CONDUIT - EMT | 40 | 287.75 | C | 6.8 | C | 115.1 | 2.72
12 | 4" CONDUIT - EMT | 10 | 751.12 | C | 13.7 | C | 75.112 | 1.37
13 | 1 1/4" ELBOW 90 DEG - EMT | 100 | 361.17 | C | 30 | C | 361.17 | 30
14 | 1/2" CONN SS STL - EMT | 134 | 18.83 | C | 8 | C | 25.2322 | 10.72
15 | 3/4" CONN SS STL - EMT | 130 | 31.06 | C | 10 | C | 40.378 | 13
16 | 1" CONN SS STL - EMT | 4 | 59.47 | C | 12 | C | 2.3788 | 0.48
17 | 1 1/4" CONN SS STL - EMT | 111 | 137.23 | C | 14 | C | 152.3253 | 15.54
18 | 1/2" COUPLING SS STL - EMT | 77 | 20.16 | C | 3.2 | C | 15.5232 | 2.464
19 | 3/4" COUPLING SS STL - EMT | 68 | 31.16 | C | 4 | C | 21.1888 | 2.72
20 | 1 1/4" COUPLING SS STL - EMT | 235 | 160.85 | C | 6.5 | C | 377.9975 | 15.275
21 | 2" CONN COMP STL - EMT | 2 | 312.73 | C | 26 | C | 6.2546 | 0.52
22 | 4" CONN COMP STL - EMT | 4 | 889.8 | C | 46.8 | C | 35.592 | 1.872
24 | 2" COUPLING COMP STL - EMT | 4 | 533.52 | C | 22 | C | 21.3408 | 0.88
25 | 3/4" CONDUIT - RMC - GALV | 36 | 193.42 | C | 5 | C | 69.6312 | 1.8
26 | 1/2" 1-H STRAP - RMC - STEEL | 12 | 0.17 | E | 4.9 | C | 2.04 | 0.588
27 | 1" 1-H STRAP - RMC - STEEL | 20 | 0.32 | E | 5.9 | C | 6.4 | 1.18
28 | 1 1/4" 1-H STRAP - RMC - STEEL | 11 | 0.84 | E | 7 | C | 9.24 | 0.77
29 | 1/2" 1-H STRAP - EMT - STEEL | 199 | 12 | C | 4.9 | C | 23.88 | 9.751
30 | 3/4" 1-H STRAP - EMT - STEEL | 137 | 14.85 | C | 5.4 | C | 20.3445 | 7.398
31 | 1 1/4" 1-H STRAP - EMT - STEEL | 4 | 59.49 | C | 7 | C | 2.3796 | 0.28
32 | 2" 2-PC CONDUIT STRUT CLAMP | 6 | 2.92 | E | 8.6 | C | 17.52 | 0.516
33 | 4" 2-PC CONDUIT STRUT CLAMP | 4 | 4.67 | E | 17 | C | 18.68 | 0.68
34 | 1/2" FLEX - STEEL | 222 | 46.7 | C | 3 | C | 103.674 | 6.66
35 | 1/2" CONN FLEX DC SQUEEZE STRAIGHT | 74 | 47.45 | C | 10 | C | 35.113 | 7.4
36 | #12 THHN BLACK | 9000 | 120.68 | M | 5.15 | M | 1086.12 | 46.35
37 | #10 THHN BLACK | 500 | 184.56 | M | 5.65 | M | 92.28 | 2.825
42 | CAT 5 CABLE | 2500 | 180 | M | 7.2 | M | 450 | 18
43 | RJ45 Conn | 50 | 40 | C | 0.25 | E | 20 | 12.5
44 | WIRE CONN YEL | 154 | 9.42 | C | 5 | C | 14.5068 | 7.7
45 | WIRE CONN RED | 684 | 11.52 | C | 6 | C | 78.7968 | 41.04
46 | DEV BOX 2 1/2" DEEP 1/2" KO W/ MNTG STRAP | 36 | 15.53 | C | 22 | C | 5.5908 | 7.92
47 | 4x 1 1/2" OCT BOX COMB KO | 12 | 1.75 | E | 22 | C | 21 | 2.64
48 | 4x 1 1/2" OCT BOX 1/2" KO W/ RCSD SIDE BRKT | 14 | 1.31 | E | 22 | C | 18.34 | 3.08
49 | 4x 1 1/2" OCT BOX 1/2" KO W/ BAR HNGR | 37 | 14.44 | E | 22 | C | 534.28 | 8.14
50 | 4" OCT BOX 3/4" 360 Swivel Box Conn | 12 | 38.82 | E | 0.33 | E | 465.84 | 3.96
51 | 4x 1 1/2" SQ BOX COMB KO | 60 | 64.87 | C | 23 | C | 38.922 | 13.8
52 | 4" SQ 1G PLSTR RING 5/8" RISE | 38 | 1.21 | E | 2.5 | C | 45.98 | 0.95
53 | 4 11/16x 1 1/2" SQ BOX COMB KO | 36 | 2.84 | E | 25 | C | 102.24 | 9
54 | 4 11/16x 2 1/8" SQ BOX COMB KO | 63 | 2.43 | E | 25 | C | 153.09 | 15.75
55 | 4 11/16x 2 1/8" SQ BOX 1" KO | 2 | 245.42 | C | 25 | C | 4.9084 | 0.5
56 | 4 11/16" SQ BLANK COVER | 65 | 62.1 | C | 2.5 | C | 40.365 | 1.625
57 | 4 11/16" SQ 2G PLSTR RING 5/8" RISE | 19 | 3 | E | 2.5 | C | 57 | 0.475
58 | 6G CONCENTRIC KO BOX | 1 | 40.67 | E | 44 | C | 40.67 | 0.44
59 | 6G BOX DEVICE COVER 3/4" RISE | 1 | 10 | e | 6.5 | C | 10 | 0.065
60 | 1 7/8" DEEP HANDY BOX 1/2" KO | 3 | 0.95 | E | 22 | C | 2.85 | 0.66
61 | HANDY BOX DUP REC COVER | 3 | 2 | E | 2.5 | C | 6 | 0.075
62 | GROUND SCREW W/ INSUL #12 LEAD | 57 | 385.64 | M | 3 | C | 21.9815 | 1.71
63 | Chief PAC 525 | 3 | 57.6 | E | 1 | E | 172.8 | 3
64 | 702 BUSHING | 3 | 0.46 | E | 2 | C | 1.38 | 0.06
65 | V700 ONE-PIECE RACEWAY | 124 | 1.72 | E | 4 | C | 213.28 | 4.96
66 | V704 STRAP 1 OR 2 HOLE | 29 | 0.62 | E | 2 | C | 17.98 | 0.58
67 | V706 CONNECTION COVER | 3 | 0.66 | E | 2 | C | 1.98 | 0.06
68 | V785 CONNECTION W 1/2" KO | 3 | 4.76 | E | 2 | C | 14.28 | 0.06
69 | 5781 1/2" MALE BOX CONN | 3 | 11.65 | E | 10 | C | 34.95 | 0.3
70 | 5781A 3/4" MALE BOX CONN | 10 | 12 | E | 10 | C | 120 | 1
71 | V5744 2 3/4" DEEP SW & REC BOX | 3 | 13.47 | E | 20 | C | 40.41 | 0.6
72 | V5744-2 2 3/4" DEEP SW & REC BOX | 2 | 22.81 | E | 25 | C | 45.62 | 0.5
73 | V57243G 1G BOX W/ DUP REC | 8 | 20.94 | E | 40 | C | 167.52 | 3.2
75 | Grn Buss Gr 1/4" X 2" X 15" Erico EGBA14215TES | 1 | 120 | E | 1 | E | 120 | 1
76 | DESCO Ground Hub #09837 | 9 | 37.9 | E | 0.75 | E | 341.1 | 6.75
77 | 1 5/8x 1 5/8x 12G STRUT SLOTTED HOLE GALV | 1 | 3.18 | E | 10 | C | 3.18 | 0.1
78 | #8 TO #10x 7/8 PLAS ANCHOR (3/16) | 6 | 0 | C | 6 | C | 0 | 0.36
79 | #8x 3/4 P/H SELF-TAP SCREW | 6 | 0 | C | 2.6 | C | 0 | 0.156
80 | #10x 1 P/H SELF-TAP SCREW | 552 | 0 | C | 3 | C | 0 | 16.56
81 | Misc Hardware | 324 | 1 | E | 0.01 | E | 324 | 3.24
82 | 1G TGL SWITCH PLATE - PLASTIC IVY | 4 | 0.4 | E | 3 | C | 1.6 | 0.12
83 | 1G DUPLEX REC PLATE - PLASTIC IVY | 8 | 0.35 | E | 2.7 | C | 2.8 | 0.216
84 | 2G DUPLEX REC PLATE - PLASTIC IVY | 19 | 0.67 | E | 3.9 | C | 12.73 | 0.741
85 | 1G DECORATOR PLATE - PLASTIC IVY | 34 | 0.7 | E | 3 | C | 23.8 | 1.02
86 | 2G DECORATOR PLATE - PLASTIC IVY | 2 | 0.93 | E | 4.5 | C | 1.86 | 0.09
87 | 6G TGL SWITCH PLATE - NYLON IVY | 1 | 7.47 | E | 10.5 | C | 7.47 | 0.105
88 | MOM- TOGGLE IVY (SG) | 5 | 10 | E | 14 | C | 50 | 0.7
89 | DIMMER SW | 3 | 25 | E | 30 | C | 75 | 0.9
90 | 20A 125V DUP REC - IVY (SG) | 42 | 2.66 | E | 20 | C | 111.72 | 8.4
91 | 20A 125V DUP REC - GFCI IVY (SG) | 38 | 15.98 | C | 25 | C | 6.0724 | 9.5
92 | 2P MOTOR SWITCH TGL OP - NEMA 1 | 2 | 30 | E | 0.6 | E | 60 | 1.2
93 | PHOTOELECTRIC SENSOR | 1 | 60 | E | 2.25 | E | 60 | 2.25
94 | BPB RECEIVING AND UNLOAD | 1 | 0 | E | 2 | E | 0 | 2
95 | BPB PUT INTO PLACE | 1 | 0 | E | 6 | E | 0 | 6
96 | 4' STRIP | 37 | 0 | E | 0.4 | E | 0 | 14.8
97 | 2" DIAM CORE 6" THICK FLOOR | 18 | 0 | E | 1 | E | 0 | 18
98 | DEMO FIXTURE 2' X 4' RSC | 42 | 0 | E | 0.25 | E | 0 | 10.5
99 | DEMO FIXTURE EXIT | 2 | 0 | E | 0.25 | E | 0 | 0.5
100 | DEMO RECEPTACLE | 30 | 0 | E | 0.2 | E | 0 | 6
101 | DEMO SWITCH | 4 | 0 | E | 0.15 | E | 0 | 0.6
102 | DEMO TEL/DATA OUTLET | 8 | 0 | E | 0.2 | E | 0 | 1.6
103 | DEMO UP TO 2" EMT & WIRE | 500 | 0 | C | 3 | C | 0 | 15
104 | DEMO 225A BRANCH PANEL | 1 | 0 | E | 1.5 | E | 0 | 1.5
105 | SAWCUT WALL for PANEL | 1 | 0 | E | 16 | E | 0 | 16
106 | Mount Wall IT Rack | 1 | 5 | E | 4 | E | 5 | 4
107 | MOUNT CONSOLIDATION RACK | 1 | 40 | E | 4 | E | 40 | 4
108 |  |  |  | E |  | E | 0 | 0
109 |  |  |  | E |  | E | 0 | 0
110 |  |  |  | E |  | E | 0 | 0
| Quoted Materials | [7 empty] | Vendor
1 | Lighting Quote |  | 20491.3 | E | 4 | E | 0 | 0
2 | Gear Quote |  | 1507 | E | 4 | E | 0 | 0
3 | Lighting Controls |  | 9242.72 | E | 4 | E | 0 | 0
[5 empty] | Bulk Material |  | 8748.3692 | 609.396
[5 empty] | Markup | 15% | 1312.2554 | 639.8658 | Job man-hours
[5 empty] | Quoted Material |  | 0 | 2 | Number of men on job
[5 empty] | Markup | 10% | 0 | 1 | number of trucks
[5 empty] | SUB Total |  | 10060.6246 | 31.9933 | Truck days
[5 empty] | Tax | 9% | 905.4562 | 40 | Round trip Miles
[5 empty] | Total Material |  | 10966.0808 | 2.5 | Estimated fuel Cost per gallon
[8 empty] | 12 | Estimated miles per gallon
| Direct Labor |  | Man Hours |  | Rate |  | Total | 266.6107 | Truck fuel Cost
| Composite Labor Rate |  | 609.396 |  | 34 |  | 20719.464 |  | Suppliers & Subcontractors | Quote
[8 empty] | LIGHTING | Grant | 20491
| Indirect Labor | % | % of MH |  | Rate |  | Total
| Project Manager | 5% | 30.4698 |  | 45 |  | 1371.141
[8 empty] | GEAR | Grant | 1507
| Incidental Labor |  | Man Hours |  | Rate |  | Total
| Travel Time |  |  |  | 34 |  | 0
| Sub Contractor |  | Quote |  |  | Markup | Total | Fire Alarm
| Fire Alarm |  | 0 |  |  | 10% | 0
| Voice Data |  | 0 |  |  | 10% | 0
| Acceptance Testing |  | 0 |  |  | 10% | 0 | Voice Data
| Security Access |  | 0 |  |  | 10% | 0
0
Acceptance
| General Expenses | QTY |  |  | Cost |  | Total
| Permit | 1 |  |  | 500 |  | 500
| Temporary Power | 1 |  |  | 500 |  | 500 | Access
| Site Gas | 1 |  |  | 266.6107 |  | 266.6107
| Rental Equipment Transportation | 0 |  |  | 200 |  | 0
|  | 0 |  |  | 0 |  | 0
[5 empty] | Total |  | 1266.6108
| Equipment | QTY | Cost |  | Sub Total | % | Total
| Concrete Saw by the Day | 1 | 100 |  | 100 | 10% | 110 | 0 | Fuel
| Breaker By The Day | 1 | 120 |  | 120 | 10% | 132 | 0 | Fuel
| Forklift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Man lift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
[7 empty] | 242 | 0 | Estimated Equipment Fuel cost
| Total Material | [5 empty] | 10966.0808
| Direct Labor | [5 empty] | 20719.464
| Indirect Labor | [5 empty] | 1371.141
| Incidental Labor | [5 empty] | 0
| Sub Contractor | [5 empty] | 0
| General Expenses | [5 empty] | 1266.6108
| Equipment | [5 empty] | 242
Estimate
[5 empty] | Total Job |  | 34565.2965
1 | This does not include the fire alarm systems rough in raceways as shown on drawings are included
2 | Voice data raceways and cabling is included but no equipment for these systems.
3 | Low voltage lighting dimming and controls have been included.

## UNIT CODES
UNIT CODES | VALUES
E | 1
C | 0.01
M | 0.001

## RENTALS
RENTALS
| Daily | Weekly | Monthly
Excavators | 230 | 690 | 1980
Trencher | 155 | 620 | 1740
Bobcat | 180 | 540 | 1620
Auger Attachment | 100 | 300 | 900
Packer | 75 | 300 | 900
Slab Saw | 75 | 300 | 900
Breaker | 120 | 480 | 1440
Core Drill | 80 | 320
Sizzor Narrow | 135 | 405 | 1125
Sizzor All Terain | 250 | 750 | 2000
40' Manlift | 250 | 750 | 2115
Reach Forklift | 360 | 1080 | 3150