## Bid Worksheet
| Bid # 1/19/001 | SQ FT | 600 |  | SQ FT cost | 0.83333
Bid Worksheet: EXAMPLE
| Description | Quantity | Trade Price | Unit | Labor | Unit | Total Material | Total Labor | Condition
1 | Fixture A | 21 | 0 | E | 0.6 | E | 0 | 12.6 | Quoted Lighting
2 | Fixture B | 21 | 0 | E | 0.6 | E | 0 | 12.6 | Quoted Lighting
3 | Fixture D | 18 | 0 | E | 0.6 | E | 0 | 10.8 | Quoted Lighting
4 | Fixture DE | 3 | 0 | E | 0.6 | E | 0 | 1.8 | Quoted Lighting
5 | Fixture P | 1 | 0 | E | 1.5 | E | 0 | 1.5 | Quoted Lighting
6 | Fixture S | 3 | 0 | E | 0.4 | E | 0 | 1.2 | Quoted Lighting
7 | Fixture W | 16 | 0 | E | 1 | E | 0 | 16 | Quoted Lighting
8 | Fixture WE | 4 | 0 | E | 1 | E | 0 | 4 | Quoted Lighting
9 | Fixture V | 1 | 0 | E | 0.75 | E | 0 | 0.75 | Quoted Lighting
10 | Fixture X | 7 | 0 | E | 0.55 | E | 0 | 3.85 | Quoted Lighting
11 | Fixture X3 | 2 | 0 | E | 0.35 | E | 0 | 0.7 | Quoted Lighting
12 | Fixture X4 | 2 | 0 | E | 0.35 | E | 0 | 0.7 | Quoted Lighting
13 | MDP | 1 | 0 | E | 26 | E | 0 | 26 | Quoted Gear
14 | PANEL A | 1 | 0 | E | 3.5 | E | 0 | 3.5 | Quoted Gear
15 | 1/2" CONDUIT - EMT | 3800 | 28.24 | C | 2.78 | C | 1073.12 | 105.64
16 | 3/4" CONDUIT - EMT | 665 | 47.86 | C | 3.2 | C | 318.269 | 21.28
17 | 1" CONDUIT - EMT | 740 | 82.43 | C | 4.05 | C | 609.982 | 29.97
18 | 1 1/4" CONDUIT - EMT | 390 | 136.36 | C | 4.7 | C | 531.804 | 18.33
19 | 2" CONDUIT - EMT | 80 | 196.54 | C | 6.8 | C | 157.232 | 5.44
20 | 2" ELBOW 90 DEG - EMT | 4 | 9.46 | E | 45 | C | 37.84 | 1.8
21 | 1/2" CONN SS STL - EMT | 495 | 23.18 | C | 8 | C | 114.741 | 39.6
22 | 3/4" CONN SS STL - EMT | 112 | 37.7 | C | 10 | C | 42.224 | 11.2
23 | 1" CONN SS STL - EMT | 123 | 70.46 | C | 12 | C | 86.6658 | 14.76
24 | 1 1/4" CONN SS STL - EMT | 1 | 137.23 | C | 14 | C | 1.3723 | 0.14
25 | 1/2" COUPLING SS STL - EMT | 325 | 29.92 | C | 3.2 | C | 97.24 | 10.4
26 | 3/4" COUPLING SS STL - EMT | 55 | 46.44 | C | 4 | C | 25.542 | 2.2
27 | 1" COUPLING SS STL - EMT | 23 | 80.53 | C | 5 | C | 18.5219 | 1.15
28 | 1 1/4" CONN COMP STL - EMT | 20 | 205.82 | C | 18.2 | C | 41.164 | 3.64
29 | 2" CONN COMP STL - EMT | 4 | 434 | C | 26 | C | 17.36 | 1.04
30 | 1 1/4" COUPLING COMP STL - EMT | 35 | 224.4 | C | 14 | C | 78.54 | 4.9
31 | 2" COUPLING COMP STL - EMT | 12 | 444.44 | C | 22 | C | 53.3328 | 2.64
32 | Universal Pipe Flashing | 7 | 10 | E | 0.5 | E | 70 | 3.5
33 | 1" INSULATING BUSHING - EMT | 8 | 93.64 | C | 5.2 | C | 7.4912 | 0.416
34 | 1 1/4" INSULATING BUSHING - EMT | 1 | 146.43 | C | 7.8 | C | 1.4643 | 0.078
35 | 3/4" CONDUIT - RMC - GALV | 100 | 150.34 | C | 5 | C | 150.34 | 5
36 | 1" CONDUIT - RMC - GALV | 110 | 236.81 | C | 6.2 | C | 260.491 | 6.82
37 | 1 1/4" CONDUIT - RMC - GALV | 100 | 339.79 | C | 7.3 | C | 339.79 | 7.3
38 | 1 1/2" CONDUIT - RMC - GALV | 20 | 383.3 | C | 8.5 | C | 76.66 | 1.7
39 | 2" CONDUIT - RMC - GALV | 60 | 476 | C | 10.5 | C | 285.6 | 6.3
40 | 3/4" ELBOW 90 DEG - RMC - GALV | 8 | 537.92 | C | 25 | C | 43.0336 | 2
41 | 1" ELBOW 90 DEG - RMC - GALV | 10 | 824.82 | C | 32 | C | 82.482 | 3.2
42 | 1 1/4" ELBOW 90 DEG - RMC - GALV | 6 | 1131.74 | C | 38 | C | 67.9044 | 2.28
43 | 1 1/4x 15" RAD ELBOW 90 DEG - RMC - GALV | 2 | 54 | E | 38 | C | 108 | 0.76
44 | 2 x 24" RAD ELBOW 90 DEG - RMC - GALV | 8 | 46.35 | E | 65 | C | 370.8 | 5.2
45 | 3/4x 12" NIPPLE - RMC - GALV | 20 | 454.76 | C | 19.5 | C | 90.952 | 3.9
46 | 1 x 12" NIPPLE - RMC - GALV | 9 | 625.4 | C | 22.8 | C | 56.286 | 2.052
47 | 1 1/4x 12" NIPPLE - RMC - GALV | 6 | 930.06 | C | 26 | C | 55.8036 | 1.56
48 | 3 x 12" NIPPLE - RMC - GALV | 2 | 2884.97 | C | 63 | C | 57.6994 | 1.26
49 | 3/4" CONN THRD HUB INSUL W/ GRD LUG MALL STG2 | 3 | 1846.61 | C | 27.2 | C | 55.3983 | 0.816
50 | 1" CONN THRD HUB INSUL W/ GRD LUG - MALL STG3 | 6 | 2037.86 | C | 32.5 | C | 122.2716 | 1.95
51 | 1 1/4" CONN THRD HUB INSUL W/ GRD LUG - MALL STG4 | 6 | 2815.65 | C | 37.6 | C | 168.939 | 2.256
52 | 1 1/2" CONN THRD HUB INSUL W/ GRD LUG - MALL STG5 | 2 | 3074.87 | C | 45 | C | 61.4974 | 0.9
53 | 3" CONN THRD HUB INSUL W/ GRD LUG - MALL STG8 | 4 | 7157 | C | 70 | C | 286.28 | 2.8
54 | 3/4" TYPE LB FORM 7 CONDUIT BODY W/ CVR & GSKT - RMC | 4 | 19.01 | E | 0.5 | E | 76.04 | 2
55 | 1" TYPE LB FORM 7 CONDUIT BODY W/ CVR & GSKT - RMC | 4 | 21.6 | E | 0.68 | E | 86.4 | 2.72
56 | 1 1/4" TYPE LB FORM 7 CONDUIT BODY W/ CVR & GSKT - RMC | 6 | 31.35 | E | 0.82 | E | 188.1 | 4.92
57 | 1 1/2" TYPE LB FORM 7 CONDUIT BODY W/ CVR & GSKT - RMC | 2 | 40.5 | E | 1.05 | E | 81 | 2.1
58 | 3/4" LOCKNUT - STEEL | 57 | 21.6 | C | 2.3 | C | 12.312 | 1.311
59 | 3/4" BUSHING - PLASTIC | 31 | 15.93 | C | 2 | C | 4.9383 | 0.62
60 | 2" BUSHING - PLASTIC | 4 | 50.7 | C | 5.8 | C | 2.028 | 0.232
61 | 1/2" 1-H STRAP - RMC - STEEL | 32 | 0.17 | E | 4.9 | C | 5.44 | 1.568
62 | 3/4" 1-H STRAP - RMC - STEEL | 40 | 0.26 | E | 5.4 | C | 10.4 | 2.16
63 | 1" 1-H STRAP - RMC - STEEL | 18 | 0.32 | E | 5.9 | C | 5.76 | 1.062
64 | 1 1/4" 1-H STRAP - RMC - STEEL | 45 | 0.84 | E | 7 | C | 37.8 | 3.15
65 | 1/2" 1-H STRAP - EMT - STEEL | 456 | 12 | C | 4.9 | C | 54.72 | 22.344
66 | 3/4" 1-H STRAP - EMT - STEEL | 23 | 14.85 | C | 5.4 | C | 3.4155 | 1.242
67 | 1" 1-H STRAP - EMT - STEEL | 64 | 24.48 | C | 5.9 | C | 15.6672 | 3.776
68 | 2" 1-H STRAP - EMT - STEEL | 8 | 125.07 | C | 9.2 | C | 10.0056 | 0.736
69 | 3/4" 2-H STRAP - RMC - STEEL | 13 | 0.18 | E | 6 | C | 2.34 | 0.78
70 | 1" 2-H STRAP - RMC - STEEL | 6 | 0.34 | E | 6.5 | C | 2.04 | 0.39
71 | 1 1/4" 2-H STRAP - RMC - STEEL | 12 | 0.55 | E | 7.7 | C | 6.6 | 0.924
72 | 3/4" 2-PC CONDUIT STRUT CLAMP | 4 | 1.69 | E | 5.1 | C | 6.76 | 0.204
73 | 1" 2-PC CONDUIT STRUT CLAMP | 4 | 1.78 | E | 5.6 | C | 7.12 | 0.224
74 | 1 1/4" 2-PC CONDUIT STRUT CLAMP | 4 | 2.44 | E | 6.6 | C | 9.76 | 0.264
75 | 1 1/2" 2-PC CONDUIT STRUT CLAMP | 4 | 2.85 | E | 7.4 | C | 11.4 | 0.296
76 | 3/4" 1-H STRAP - RMC - MALL | 2 | 122.55 | C | 5.4 | C | 2.451 | 0.108
77 | 3/4" CLAMP BACK | 2 | 89.88 | C | 10 | C | 1.7976 | 0.2
78 | 1" SNAP CLOSE CLIP - BTM MNT ON 1/2" FLNG HNGR | 8 | 1.72 | E | 8.9 | C | 13.76 | 0.712
79 | 1/2" CONDUIT SUPPORT FOR ROD OR FLNG | 21 | 0.43 | E | 4.6 | C | 9.03 | 0.966
80 | 1/2 OR 3/4" SNAP CLOSE CLIP - SIDE MNT TO MTL STUD SUPPORT | 203 | 1.44 | E | 7.2 | C | 292.32 | 14.616
81 | 1/2 OR 3/4" SNAP CLOSE CLIP ON ANGLE BRKT | 102 | 1.49 | E | 8.2 | C | 151.98 | 8.364
82 | 2" COUPLING - RMC - GALV PVC CTD | 0 | 11 | E | 0 | C | 0 | 0
83 | 1/2" FLEX - ALUMINUM | 1021 | 39.18 | C | 3 | C | 400.0278 | 30.63
84 | 3/4" FLEX - ALUMINUM | 56 | 53.88 | C | 3.9 | C | 30.1728 | 2.184
85 | 1" FLEX - ALUMINUM | 16 | 101.52 | C | 4.95 | C | 16.2432 | 0.792
86 | 1/2" CONN FLEX DC SQUEEZE STRAIGHT | 305 | 47.45 | C | 10 | C | 144.7225 | 30.5
87 | 3/4" CONN FLEX DC SQUEEZE STRAIGHT | 30 | 80.41 | C | 10 | C | 24.123 | 3
88 | 1" CONN FLEX DC SQUEEZE STRAIGHT | 8 | 261.64 | C | 11 | C | 20.9312 | 0.88
89 | 1" FLEX NM RACEWAY - HDPE ORANGE | 200 | 0.78 | E | 3.25 | C | 156 | 6.5
90 | 1/2" FLEX - LIQUIDTIGHT METALLIC - GRAY | 4 | 54.59 | C | 3.9 | C | 2.1836 | 0.156
91 | 1/2" CONN STRAIGHT INSUL - LIQUIDTIGHT DIECAST | 2 | 214.4 | C | 15 | C | 4.288 | 0.3
92 | 3/4" CONDUIT - PVC40 | 170 | 19.26 | C | 3.6 | C | 32.742 | 6.12
93 | 1" CONDUIT - PVC40 | 160 | 28.12 | C | 4.4 | C | 44.992 | 7.04
94 | 1 1/4" CONDUIT - PVC40 | 61 | 40.63 | C | 5.3 | C | 24.7843 | 3.233
95 | 2" CONDUIT - PVC80 | 360 | 91.26 | C | 8.7 | C | 328.536 | 31.32
96 | 3/4" ADAPTER MALE - PVC | 1 | 35.51 | C | 10 | C | 0.3551 | 0.1
97 | 3/4" ADAPTER FEM - PVC | 8 | 37.85 | C | 10 | C | 3.028 | 0.8
98 | 1" ADAPTER FEM - PVC | 8 | 51.15 | C | 12 | C | 4.092 | 0.96
99 | 3" Cleanouot And Prep per Ft | 580 | 0 | E | 0.02 | E | 0 | 11.6
100 | #12 THHN BLACK | 16000 | 111.42 | M | 5.15 | M | 1782.72 | 82.4
101 | #10 THHN BLACK | 6000 | 174.67 | M | 5.65 | M | 1048.02 | 33.9
102 | # 8 THHN BLack | 240 | 282.76 | M | 7 | M | 67.8624 | 1.68
103 | # 6 THHN BLACK | 1260 | 435.03 | M | 8.9 | M | 548.1378 | 11.214
104 | # 4 THHN BLack | 120 | 644 | M | 10.2 | M | 77.28 | 1.224
105 | # 3 THHN BLack | 1840 | 798.28 | M | 11.9 | M | 1468.8352 | 21.896
106 | # 2 THHN BLACK | 80 | 998.2 | M | 12.4 | M | 79.856 | 0.992
107 | #4/0 THHN BLack | 400 | 3036.78 | M | 21.6 | M | 1214.712 | 8.64
108 | #250 MCM THHN BLACK | 60 | 3671.83 | M | 24.2 | M | 220.3098 | 1.452
109 | #3/0 THHN GREEN | 100 | 2462 | M | 18.8 | M | 246.2 | 1.88
110 | 1-H CABLE STRAP | 15 | 0.1 | E | 2 | C | 1.5 | 0.3
111 | COMPRESSION LUG - CU W/ 1- 13/32" HOLE - #3/0 CU WIRE | 4 | 2.64 | E | 28 | C | 10.56 | 1.12
112 | WIRE CONN RED | 1500 | 11.44 | C | 1 | C | 171.6 | 15
113 | 1/8" POLYTWINE | 1000 | 30 | M | 3 | M | 30 | 3
114 | 4x 1 1/2" OCT BOX 1/2" KO | 36 | 88.74 | C | 22 | C | 31.9464 | 7.92
115 | 4x 1 1/2" OCT BOX COMB KO | 20 | 88.74 | C | 22 | C | 17.748 | 4.4
116 | 4" OCT BOX EXT RING 1/2" KO | 20 | 12.51 | E | 7 | C | 250.2 | 1.4
117 | 4" OCT BLANK COVER | 15 | 37.77 | C | 2.5 | C | 5.6655 | 0.375
118 | 4x 1 1/2" SQ BOX COMB KO | 215 | 64.87 | C | 23 | C | 139.4705 | 49.45
119 | 4x 1 1/2" SQ BOX COMB KO W/ FLUSH MTL STUD BRKT | 83 | 114.28 | C | 23 | C | 94.8524 | 19.09
120 | 4x 2 1/8" SQ BOX COMB KO | 20 | 107.6 | C | 23 | C | 21.52 | 4.6
121 | 4" SQ 1G PLSTR RING 5/8" RISE | 110 | 43.46 | C | 2.5 | C | 47.806 | 2.75
122 | 4" SQ 2G PLSTR RING 5/8" RISE | 2 | 50.35 | C | 2.5 | C | 1.007 | 0.05
123 | 4" SQ BLANK COVER | 207 | 27.19 | C | 2.5 | C | 56.2833 | 5.175
124 | 4" SQ 1x TOGGLE SWITCH COVER | 1 | 5.04 | E | 2.5 | C | 5.04 | 0.025
125 | 4 11/16x 1 1/2" SQ BOX COMB KO | 87 | 2.84 | E | 25 | C | 247.08 | 21.75
126 | 4 11/16x 2 1/8" SQ BOX 1" KO | 2 | 245.42 | C | 25 | C | 4.9084 | 0.5
127 | 4 11/16" SQ BLANK COVER | 8 | 62.1 | C | 2.5 | C | 4.968 | 0.2
128 | 4 11/16" SQ 1G PLSTR RING 5/8" RISE | 32 | 1.05 | C | 2.5 | C | 0.336 | 0.8
129 | 4 11/16" SQ 2G PLSTR RING 5/8" RISE | 49 | 1.7 | C | 2.5 | C | 0.833 | 1.225
130 | 2G CONCENTRIC KO BOX | 3 | 6.71 | E | 22 | C | 20.13 | 0.66
131 | 2G BOX DEVICE COVER 3/4" RISE | 4 | 5.6 | E | 2.5 | C | 22.4 | 0.1
132 | 1G MSNRY BOX 2 1/2" DEEP | 4 | 3.58 | E | 35 | C | 14.32 | 1.4
133 | 1G 2"D DC ALUM BOX W/ LUGS & 3x 3/4" HUBS GRY | 7 | 473.53 | C | 0.35 | E | 33.1471 | 2.45
134 | 1G VERT MNT STD DEPTH WP DUP OR DECOR CVR GRY | 7 | 8 | E | 0.07 | E | 56 | 0.49
135 | GROUND SCREW W/ INSUL #12 LEAD | 92 | 34.71 | C | 3 | C | 31.9332 | 2.76
136 | 702 BUSHING | 1 | 0.46 | E | 2 | C | 0.46 | 0.02
137 | V700 ONE-PIECE RACEWAY | 8 | 1.72 | E | 4 | C | 13.76 | 0.32
138 | V704 STRAP 1 OR 2 HOLE | 3 | 0.62 | E | 2 | C | 1.86 | 0.06
139 | V706 CONNECTION COVER | 1 | 0.66 | E | 2 | C | 0.66 | 0.02
140 | V785 CONNECTION W 1/2" KO | 1 | 4.79 | E | 2 | C | 4.79 | 0.02
141 | 5781 1/2" MALE BOX CONN | 1 | 4.1 | E | 10 | C | 4.1 | 0.1
142 | V5744 2 3/4" DEEP SW & REC BOX | 1 | 22.81 | E | 20 | C | 22.81 | 0.2
143 | V2100B RACEWAY BASE | 7 | 119.72 | C | 5.75 | C | 8.3804 | 0.4025
144 | V2100C RACEWAY COVER | 7 | 118 | C | 2 | C | 8.26 | 0.14
145 | V2110A 2 5/16" ENTR END FTG | 7 | 508.28 | C | 20 | C | 35.5796 | 1.4
146 | V2151-2 1 3/8" DEEP FLUSH EXT ADAPTER | 7 | 25 | E | 30 | C | 175 | 2.1
147 | 3/4"x 10' GALV GRD ROD | 1 | 1815.38 | C | 1 | E | 18.1538 | 1
148 | BURNDY GAR6429 5/8-3/4" Rod TO #250 STR | 1 | 55.47 | E | 0.9 | E | 55.47 | 0.9
149 | 1 5/8x 1 5/8x 12G STRUT SLOTTED HOLE GALV | 90 | 3.18 | E | 10 | C | 286.2 | 9
150 | UNISTRUT BASE KIT (2) PHK | 7 | 149.84 | E | 0.75 | E | 1048.88 | 5.25
151 | 24" SPAN T-BAR HNGR FOR 1 1/2" OR 2 1/8" DEEP BOX | 21 | 8.21 | E | 15 | C | 172.41 | 3.15
152 | #12 CEILING WIRE | 630 | 3.28 | C | 0.75 | C | 20.664 | 4.725
153 | Misc Hardware | 300 | 1 | E | 0.01 | E | 300 | 3
154 | 1G TGL SWITCH PLATE - PLASTIC IVY | 8 | 0.28 | E | 3 | C | 2.24 | 0.24
155 | 2G TGL SWITCH PLATE - PLASTIC IVY | 3 | 0.77 | E | 4.5 | C | 2.31 | 0.135
156 | 1G DUPLEX REC PLATE - PLASTIC IVY | 46 | 0.26 | E | 2.7 | C | 11.96 | 1.242
157 | 2G DUPLEX REC PLATE - PLASTIC IVY | 2 | 0.67 | E | 3.9 | C | 1.34 | 0.078
158 | 1G DECORATOR PLATE - PLASTIC IVY | 13 | 0.37 | E | 3 | C | 4.81 | 0.39
159 | 1G DECOR WP PLATE - DEVICE MNT VERT - ALUM | 4 | 33.19 | E | 6 | C | 132.76 | 0.24
160 | 20A 120-277V S/P SW - TOGGLE IVY (SG) | 3 | 1.78 | E | 14 | C | 5.34 | 0.42
161 | 20A 120-277V 3/W SW - TOGGLE IVY (SG) | 8 | 8.54 | C | 20 | C | 0.6832 | 1.6
162 | 20A 120-277V 4/W SW - TOGGLE IVY (SG) | 2 | 5.26 | E | 22 | C | 10.52 | 0.44
163 | 600W 3/W PUSH-ON INCAND DIMMER (GP) | 2 | 0 | E | 0.45 | E | 0 | 0.9 | Quoted Lighting
164 | 120/277V WALL OCC SWITCH IVY | 5 | 0 | E | 0.35 | E | 0 | 1.75 | Quoted Lighting
165 | 1G DECORATOR PLATE IVY | 5 | 120 | C | 2.5 | C | 6 | 0.125
166 | CiEILING 24V WPIR OCC SENSOR | 3 | 0 | E | 0.6 | E | 0 | 1.8 | Quoted Lighting
167 | 20A 125V DUP REC - ISO GRD ORG Tmper Res(SG) | 2 | 25 | E | 20 | C | 50 | 0.4
168 | 20A 125V TAMPER PRF DUP REC - GFCI IVY (SG) | 16 | 26 | E | 25 | C | 416 | 4
169 | 20A 125V Tamper Resistant | 147 | 4.5 | E | 20 | C | 661.5 | 29.4
170 | 2P MOTOR SWITCH TGL OP - OPEN | 3 | 30 | E | 0.35 | E | 90 | 1.05
171 | STEM MNT 120V PHOTOCELL 2001 | 1 | 10 | E | 0.5 | E | 10 | 0.5
172 | DPB PUT INTO PLACE | 1 | 0 | E | 2 | E | 0 | 2 | No Cost
173 | BPB PUT INTO PLACE | 1 | 0 | E | 2 | E | 0 | 2 | No Cost
174 | 30A 250V DSN SW FUSIBLE - NEMA 1 | 1 | 0 | E | 1.1 | E | 0 | 1.1 | Quoted Gear
175 | 30A 250V DSN SW FUSIBLE - NEMA 3R | 1 | 0 | E | 1.2 | E | 0 | 1.2 | Quoted Gear
176 | 60A 250V DSN SW FUSIBLE - NEMA 3R | 2 | 0 | E | 1.65 | E | 0 | 3.3 | Quoted Gear
177 | 100A 250V DSN SW FUSIBLE - NEMA 3R | 4 | 0 | E | 2.1 | E | 0 | 8.4 | Quoted Gear
178 | 100A 4-JAW HEAVY DUTY SOCKET | 1 | 0 | E | 1 | E | 0 | 1 | SLEMCO
179 | 30x 36x 10" METER CABINET (Slemco Spec) | 1 | 192.1 | E | 1.5 | E | 192.1 | 1.5 | SLEMCO
180 | #12/2C + GRD MOTOR TERM | 1 | 1 | E | 0.49 | E | 1 | 0.49
181 | #10/2C + GRD MOTOR TERM | 1 | 1 | E | 0.61 | E | 1 | 0.61
182 | #12 WIRE POWER TERM | 24 | 0.8 | E | 0.09 | E | 19.2 | 2.16
183 | #10 WIRE POWER TERM | 18 | 0.8 | E | 0.11 | E | 14.4 | 1.98
184 | # 8 WIRE POWER TERM | 2 | 0.8 | E | 0.14 | E | 1.6 | 0.28
185 | # 6 WIRE POWER TERM | 22 | 1.25 | E | 0.17 | E | 27.5 | 3.74
186 | # 3 WIRE POWER TERM | 32 | 1.25 | E | 0.23 | E | 40 | 7.36
187 | # 2 WIRE POWER TERM | 4 | 1.25 | E | 0.25 | E | 5 | 1
188 | #4/0 WIRE POWER TERM | 8 | 1.25 | E | 0.43 | E | 10 | 3.44
189 | #250 WIRE POWER TERM | 12 | 1.25 | E | 0.47 | E | 15 | 5.64
190 | LED no Count | 99 | 0 | E | 0 | E | 0 | 0 | No Cost, No Labor
191 | Bradly HAND DRYER 2903 280000 | 2 | 400 | E | 0.5 | E | 800 | 1
192 | 25'x 4" POLE ROUND STRAIGHT - STEEL | 1 | 0 | E | 5.6 | E | 0 | 5.6 | Quoted Lighting
193 | TRENCH (12"x 3' DEEP) | 70 | 0 | E | 6 | C | 0 | 4.2
194 | BACKFILL (CUBIC YARD) | 70 | 0 | E | 5 | C | 0 | 3.5
195 | Hand Diging per Hour | 12 | 0 | E | 1 | E | 0 | 12 | No Cost
196 | 1" DIAM CORE 4" THICK WALL | 4 | 0 | E | 1 | E | 0 | 4 | No Cost
197 | 2" DIAM CORE 4" THICK WALL | 4 | 0 | E | 1 | E | 0 | 4 | No Cost
198 | 2" DIAM CORE 6" THICK WALL | 12 | 0 | E | 1 | E | 0 | 12 | No Cost
199 | 6" DIAM CORE 6" THICK WALL | 1 | 0 | E | 1 | E | 0 | 1 | No Cost
200 | DEMO FIXTURE 2' X 4' RSC | 11 | 0 | E | 0.25 | E | 0 | 2.75 | No Cost
201 | DEMO FIXTURE 1' x 4' RCSD | 3 | 0 | E | 0.25 | E | 0 | 0.75 | No Cost
202 | DEMO FIXTURE RCSD DOWN LITE | 1 | 0 | E | 0.25 | E | 0 | 0.25 | No Cost
203 | DEMO FIXTURE 2' x 2' SURFACE | 1 | 0 | E | 0.25 | E | 0 | 0.25 | No Cost
204 | DEMO FIXTURE INCANDESCENT | 2 | 0 | E | 0.3 | E | 0 | 0.6 | No Cost
205 | DEMO FIXTURE WALL PACK | 2 | 0 | E | 0.55 | E | 0 | 1.1 | No Cost
206 | REMOVE CLEAN REPAIR AND REINSTALL LIGHT FIXTURE | 1 | 10 | E | 1.5 | E | 10 | 1.5
207 | DEMO RECEPTACLE | 14 | 0 | E | 0.2 | E | 0 | 2.8 | No Cost
208 | DEMO DEVICE & WIRE REUSE CONDUIT & BOX | 10 | 0 | E | 2 | E | 0 | 20 | No Cost
209 | DEMO Special System Device | 4 | 0 | E | 0.25 | E | 0 | 1 | No Cost
210 | DEMO 100A DSN SWITCH | 2 | 0 | E | 0.75 | E | 0 | 1.5 | No Cost
211 | DEMO HEATER | 4 | 0 | E | 0.75 | E | 0 | 3 | No Cost
212 | LARGE CLOCK | 1 | 0 | E | 6 | E | 0 | 6 | No Cost
213 | FLOODSAFE UNIT | 1 | 0 | E | 1 | E | 0 | 1 | No Cost
214 | E2 KN-2 | 1 | 0 | E | 3 | E | 0 | 3 | No Cost
215 | E2 KN-6 | 7 | 0 | E | 1.5 | E | 0 | 10.5 | No Cost
216 | E2 KN-7 | 4 | 0 | E | 2 | E | 0 | 8 | No Cost
217 | E2 KN-8 | 1 | 0 | E | 2 | E | 0 | 2 | No Cost
218 | REMOVE WIRING FROM INTERCOM SPEAKER FOR REUSE | 16 | 0 | E | 0.5 | E | 0 | 8 | No Cost
219 | DEMO EXSISTING FEEDER | 1 | 0 | E | 16 | E | 0 | 16 | No Cost
220 |  |  |  | E |  | E | 0 | 0
221 |  |  |  | E |  | E | 0 | 0
222 |  |  |  | E |  | E | 0 | 0
223 |  |  |  | E |  | E | 0 | 0
224 |  |  |  | E |  | E | 0 | 0
| Quoted Materials | [7 empty] | Vendor
1 | Lighting Quote | 1 | 19510.61 | E | 4 | E | 19510.61 | 4
2 | Gear Quote | 1 | 6275 | E | 4 | E | 6275 | 4
3 | Clock | 1 | 7800 | E | 4 | E | 7800 | 4
[5 empty] | Bulk Material |  | 21267.6303 | 1231.5675
[5 empty] | Markup | 15% | 3190.1445 | 1293.1459 | Job manhours
[5 empty] | Quoted Material |  | 33585.61 | 2 | Number of men on job
[5 empty] | Markup | 10% | 3358.561 | 1 | number of trucks
[5 empty] | SUB Total |  | 61401.9458 | 64.6573 | Truck days
[5 empty] | Tax | 9% | 5526.1751 | 80 | Round trip Miles
[5 empty] | Total Material |  | 66928.121 | 2.1 | Estimated fuel Cost per gallon
[8 empty] | 12 | Estimated miles per gallon
| Direct Labor |  | Man Hours |  | Rate |  | Total | 905.2021 | Truck fuel Cost
| Composite Labor Rate |  | 1231.5675 |  | 34 |  | 41873.295 |  | Suppliers & Subcontractors | Quote
[8 empty] | LIGHTING | Elliott Supply | NQ
| Indirect Labor | % | % of MH |  | Rate |  | Total |  | Midsouth Supply | 19510.61
| Project Manager | 5% | 61.5784 |  | 45 |  | 2771.0269 |  | Notoco | NQ
[8 empty] | Gear | Elliott Supply | 6275
| Sub Contractor |  | Quote |  |  | Markup | Total |  | Midsouth Supply | 7179.49
| Fire Alarm |  | 25612 |  |  | 5% | 26892.6 |  | Notoco | NQ
| Voice Data |  | 32410 |  |  | 5% | 34030.5 | Clock | Americlock | 7800
| Excavation |  | 2500 |  |  | 5% | 2625 | Excavation | Cowboy Boring | 2500
| Acceptance Testing |  | 3000 |  |  | 5% | 3150 | Fire Alarm | Sound & Comunication
|  |  | 63522 |  |  |  | 66698.1 |  | Louisiana Special Systems | 25612
[9 empty] | Concepts | NQ
| General Expenses | QTY |  |  | Cost |  | Total | Data | Southern Technologies | 53930
| Permit | 1 |  |  | 300 |  | 300 |  | Data-tel | 32410
| Temporary Power, Office Power | 1 |  |  | 500 |  | 500 | Acceptance | Electric Power Systems | 3000
| Site Gas | 1 |  |  | 985.2021 |  | 985.2021
| Equipment Delivery & Pickup | 1 |  |  | 200 |  | 200
[5 empty] | 150 |  | 0
[5 empty] | Total |  | 1985.2021
| Equipment | QTY | Cost |  | Sub Total | % | Total
| Excavator By The Month | 1 | 700 |  | 700 | 10% | 770 | 30 | Fuel
| Trencher By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Packer By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Manlift By The | 2 | 250 |  | 500 | 10% | 550 | 50 | Fuel
[7 empty] | 1320 | 80 | Estimated Equipment Fuel cost
| Total Material | [5 empty] | 66928.121
| Direct Labor | [5 empty] | 41873.295
| Indirect Labor | [5 empty] | 2771.0269
| Sub Contractor | [5 empty] | 66698.1
| General Expenses | [5 empty] | 1985.2021
| Equipment | [5 empty] | 1320
| Estimate | [5 empty] | 750
[5 empty] | Base |  | 182325.745
Alternate 1
1 | Labor | 1 |  | E | 40 | E | 0 | 40
2 | Misc Hardware | 1 | 100 | E |  | C | 100 | 0
3 |  |  |  | C |  | C | 0 | 0
4 |  |  |  | C |  | C | 0 | 0
5 |  |  |  | C |  | C | 0 | 0
6 |  |  |  | C |  | C | 0 | 0
7 |  |  |  | E |  | C | 0 | 0
8 |  |  |  | C |  | C | 0 | 0
9 |  |  |  | E |  | C | 0 | 0
10 |  |  |  | E |  | C | 0 | 0
| Quoted Materials | [7 empty] | Vendor
1 | Lighting Quote | 0 |  | E | 4 | E | 0 | 0
2 |  | 0 |  | E | 4 | E | 0 | 0
3 |  | 0 |  | E | 4 | E | 0 | 0
[5 empty] | Bulk Material |  | 100 | 40
[5 empty] | Markup | 15% | 15 | 42 | Job manhours
[5 empty] | Quoted Material |  | 0 | 2 | Number of men on job
[5 empty] | Markup | 10% | 0 | 1 | number of trucks
[5 empty] | SUB Total |  | 115 | 2.1 | Truck days
[5 empty] | Tax | 9% | 10.35 | 80 | Round trip Miles
[5 empty] | Total Material |  | 125.35 | 2.1 | Estimated fuel Cost per gallon
[8 empty] | 12 | Estimated miles per gallon
| Direct Labor |  | Man Hours |  | Rate |  | Total | 29.4 | Truck fuel Cost
| Composite Labor Rate |  | 40 |  | 34 |  | 1360 |  | Suppliers & Subcontractors | Quote
LIGHTING
| Indirect Labor | % | % of MH |  | Rate |  | Total
| Project Manager | 5% | 2 |  | 45 |  | 90
Gear
| Sub Contractor |  | Quote |  |  | Markup | Total
| Fire Alarm |  | 0 |  |  | 10% | 0
| Voice Data |  | 0 |  |  | 10% | 0
| Excavation |  |  |  |  | 10% | 0 | Excavation
| Acceptance Testing |  |  |  |  | 10% | 0 | Fire Alarm
0
| General Expenses | QTY |  |  | Cost |  | Total | Data
| Permit |  |  |  | 500 |  | 0
| Temporary Power |  |  |  | 500 |  | 0 | Acceptance
| Site Gas | 0 |  |  | 29.4 |  | 0
|  | 0 |  |  | 200 |  | 0
[5 empty] | 150 |  | 0
[5 empty] | Total |  | 0
| Equipment | QTY | Cost |  | Sub Total | % | Total
| Excavator By The Day |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Trencher By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Packer By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Manlift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
[7 empty] | 0 | 0 | Estimated Equipment Fuel cost
| Total Material | [5 empty] | 125.35
| Direct Labor | [5 empty] | 1360
| Indirect Labor | [5 empty] | 90
| Sub Contractor | [5 empty] | 0
| General Expenses | [5 empty] | 0
| Equipment | [5 empty] | 0
Estimate
[5 empty] | Alternate 1 |  | 1575.35
[5 empty] | Base |  | 182325.745
[5 empty] | Alternate 1 |  | 1575.35
[5 empty] | Total Job |  | 183901.095

## UNIT CODES
UNIT CODES | VALUES
E | 1
C | 0.01
M | 0.001